## TT Barcodes 2023
Trade Price Book
Effective April 1, 2023
| Part # | Description | Trade Price | Bar Code
INSTINCT FLOOR STANDING BOILERS
| INSFS110S | Solo 110 | 4057
| INSFS155S | Solo 155 | 4269
| INSFS199S | Solo 199 | 4652
| INSFS155C | Combi 155 * | 4641
| INSFS199C | Combi 199 * | 4810
* DHW output GPM (70F Rise) 155-4.0 / 199 - 5.3
INSTINCT FLOOR STANDING OPTIONAL EQUIPMENT
| INSRKIT101 | Kit: Complete Service Kit | 2553
| INSRKIT102 | Kit: First Aid Service Kit | 1915
| INSRKIT103 | Kit: Service Kit | 486
| MDRKIT05 | System Temperature Sensor for Cascade (immersion) | 102
| INSRKIT119 | Wi-Fi Bracket | 46
| PACAB01 | Cascade Connection (Multiple Boiler) cable | 34
| PSCAS17 | CSD1 Kit (manual high reset & low water cut off) | 456
| PSNEU03 | Condensate Neutralizer Kit, A must have for many local codes/ | 166
| PSVKIT01 | 3" Stainless Steel Sidewall Termination | 208
| PSVKIT02 | 4" Stainless Steel Sidewall Termination | 240
| PSVTERM03 | 2" PVC Sidewall Vent Termination Kit | 67
| PSVTERM04 | 3" PVC Sidewall Termination Kit | 67
| PTSENS12 | System Temperature Sensor for Cascade (strap on) | 68
INSTINCT FLOOR STANDING PARTS
| INSJKT17 | Front Jacket Panel | 158
| INSRKIT01 | Kit: Heat Exchanger 110 | 1623
| INSRKIT02 | Kit: Heat Exchanger 155 | 2084
| INSRKIT03 | Kit: Heat Exchanger 199 | 2567
| INSRKIT04 | Kit: Blower (110-155) | 441
| INSRKIT05 | Kit: Blower 199 | 531
| INSRKIT06 | Kit: Gas Valve | 355
| INSRKIT07 | Kit: Venturi 110 NG | 154
| INSRKIT08 | Kit: Venturi 110 LP | 155
| INSRKIT09 | Kit: Venturi 155 NG | 154
| INSRKIT10 | Kit: Venturi 155 LP | 154
| INSRKIT11 | Kit: Venturi 199 NG | 154
| INSRKIT12 | Kit: Venturi 199 LP | 142
| INSRKIT13 | Kit: Venturi Air Inlet Coupling | 65
| INSRKIT14 | Kit: Burner Plate 110 | 295
| INSRKIT15 | Kit: Burner Plate 155 | 331
| INSRKIT16 | Kit: Burner Plate 199 | 331
| INSRKIT17 | Outdoor Sensor | 75
| INSRKIT18 | Kit: Combustion Insulation (110) | 145
| INSRKIT19 | Kit: Combustion Insulation (155) | 168
| INSRKIT20 | Kit: Combustion Insulation (199) | 172
| INSRKIT21 | Kit: Circulator | 298
| INSRKIT22 | Kit: Gas Valve Gaskets | 25
| INSRKIT24 | Kit: Burner Head 110 | 238
| INSRKIT25 | Kit: Burner Head 155-199 | 311
| INSRKIT26 | Kit: Igniter Cable | 64
| INSRKIT27 | Kit: Igniter | 96
| INSRKIT28 | Spark Transformer | 106
| INSRKIT30 | Kit: HX Insulation ( Top 110) | 69
| INSRKIT31 | Kit: HX Insulation ( Top 155) | 62
| INSRKIT32 | Kit: HX Insulation ( Top 199) | 75
| INSRKIT40 | Kit: Vent Outlet/Air Inlet ADA | 117
| INSRKIT41 | Kit: Flue Tube | 96
| INSRKIT52 | Kit: Control Module (All) | 370
| INSRKIT55 | Kit: Enclosure (Control) | 93
| INSRKIT58 | Kit: Flow Sensor | 89
| INSRKIT60 | Kit: Hydroblock Plate HX | 244
| INSRKIT61 | Kit: Valve Motor | 213
| INSRKIT62 | Kit: 3 Way Valve | 83
| INSRKIT68 | Kit: Gaskets Hydroblock | 62
| INSRKIT69 | Kit: CH & DHW Supply Fitting | 200
| INSRKIT71 | Kit: DHW Inlet Fitting Combi | 129
| INSRKIT72 | Kit: CH Return Fitting | 147
| INSRKIT74 | Kit: Air Inlet Elbow | 92
| INSRKIT75 | Kit: Air Inlet Reducer Adapter | 69
| INSRKIT89 | Gasket Kit | 348
| INSRKIT91 | Kit: Mounting Bracket (Display) | 93
| INSRKIT92 | Kit: Mounting Bracket (Control) | 93
| INSRKIT98 | Kit: Condensate Pan 110 | 155
| INSRKIT99 | Kit: Condensate Pan 155 | 176
| INSRKIT100 | Kit: Condensate Pan 199 | 183
| INSRKIT104 | Kit: Burner Head Gasket 110 | 53
| INSRKIT105 | Kit: Burner Head Gasket 155/199 | 53
| INSRKIT106 | Kit: Igniter Gasket | 53
| INSRKIT107 | Kit: Blower Gasket | 63
| INSRKIT108 | Kit: Venturi Gasket | 53
| INSRKIT109 | Kit: Water Pipe Gasket | 51
| INSRKIT110 | Kit: Flue Gasket | 64
| INSRKIT111 | Kit: Venturi "O" Ring 110/155 | 50
| INSRKIT112 | Kit: Venturi "O" Ring 199 | 50
| INSRKIT114 | Kit: Gaskets Gas Pipe | 57
| INSRKIT115 | Kit: Pressure Gauge | 86
| INSRKIT116 | Kit: Foam Damper NG | 50
| INSRKIT117 | Kit: Foam Damper LP | 60
| INSRKIT120 | FSB Feet | 51
| INSRKIT128 | FSB Display | 365
| INSRKIT129 | Igniter Cable FSB | 51
| INSRKIT131 | 110 NG to LP Conversion | 139
| INSRKIT132 | 155 NG to LP Conversion | 139
| INSRKIT133 | 199 NG to LP Conversion | 139
| INSRKIT134 | FSB Control Board | 351
| INSRKIT135 | 110 LP to NG Conversion | 154
| INSRKIT136 | 155 LP to NG Conversion | 154
| INSRKIT137 | 199 LP to NG Conversion | 154
| INSRKIT138 | CH Return Fitting into Pump | 179
| PARKIT01 | Sensor Flue All PA | 65
| PARKIT04 | Sensor LWCO Pressure | 82
| PSRKIT05 | Condensation Drain Assembly 110-250 | 83
| PSRKIT16 | Kit: Sight Glass Assembly 110-250 | 91
| PTRKIT122 | Sensor Supply/Return (60-250) | 74
INSTINCT WALL BOILERS
| INS110S | Solo 110 | 2611
| INS155S | Solo 155 | 2799
| INS199S | Solo 199 | 2984
| INS155C | Combi 155 * | 2851
| INS199C | Combi 199 * | 3079
* DHW output GPM (70F Rise) 155-4.0 / 199 - 5.3
INSTINCT WALL OPTIONAL EQUIPMENT
| INSRKIT84 | Instinct Wall (Combi Only) Manifold | 446
| INSRKIT101 | Kit: Complete Service Kit | 2553
| INSRKIT102 | Kit: First Aid Service Kit | 1915
| INSRKIT103 | Kit: Service Kit | 486
| INSRKIT122 | Wi-Fi Module 1.0 + Bracket | 174
| MDRKIT05 | System Temperature Sensor for Cascade (immersion) | 102
| PACAB01 | Cascade Connection (Multiple Boiler) cable | 34
| PSCAS17 | CSD1 Kit (manual high reset & low water cut off) | 456
| PSNEU03 | Condensate Neutralizer Kit, A must have for many local codes/ | 166
| PSVKIT01 | 3" Stainless Steel Sidewall Termination | 208
| PSVKIT02 | 4" Stainless Steel Sidewall Termination | 240
| PSVTERM03 | 2" PVC Sidewall Vent Termination Kit | 67
| PSVTERM04 | 3" PVC Sidewall Termination Kit | 67
| PTSENS12 | System Temperature Sensor for Cascade (strap on) | 68
INSTINCT WALL PARTS
| INSJKT01 | Solo Front Jacket Panel | 181
| INSJKT03 | Solo Right Side Jacket Panel | 66
| INSJKT04 | Combi Front Jacket Panel | 252
| INSRKIT01 | Kit: Heat Exchanger 110 | 1623
| INSRKIT02 | Kit: Heat Exchanger 155 | 2084
| INSRKIT03 | Kit: Heat Exchanger 199 | 2567
| INSRKIT04 | Kit: Blower (110-155) | 441
| INSRKIT05 | Kit: Blower 199 | 531
| INSRKIT06 | Kit: Gas Valve | 355
| INSRKIT07 | Kit: Venturi 110 NG | 154
| INSRKIT08 | Kit: Venturi 110 LP | 155
| INSRKIT09 | Kit: Venturi 155 NG | 154
| INSRKIT10 | Kit: Venturi 155 LP | 154
| INSRKIT11 | Kit: Venturi 199 NG | 154
| INSRKIT12 | Kit: Venturi 199 LP | 142
| INSRKIT13 | Kit: Venturi Air Inlet Coupling | 65
| INSRKIT14 | Kit: Burner Plate 110 | 295
| INSRKIT15 | Kit: Burner Plate 155 | 331
| INSRKIT16 | Kit: Burner Plate 199 | 331
| INSRKIT17 | Outdoor Sensor | 75
| INSRKIT18 | Kit: Combustion Insulation (110) | 145
| INSRKIT19 | Kit: Combustion Insulation (155) | 168
| INSRKIT20 | Kit: Combustion Insulation (199) | 172
| INSRKIT21 | Kit: Circulator | 298
| INSRKIT22 | Kit: Gas Valve Gaskets | 25
| INSRKIT24 | Kit: Burner Head 110 | 238
| INSRKIT25 | Kit: Burner Head 155-199 | 311
| INSRKIT26 | Kit: Igniter Cable | 64
| INSRKIT27 | Kit: Igniter | 96
| INSRKIT28 | Spark Transformer | 106
| INSRKIT30 | Kit: HX Insulation ( Top 110) | 69
| INSRKIT31 | Kit: HX Insulation ( Top 155) | 62
| INSRKIT32 | Kit: HX Insulation ( Top 199) | 75
| INSRKIT33 | Kit: Supply Pipe 110 | 183
| INSRKIT34 | Kit: Supply Pipe 155-199 Solo | 175
| INSRKIT35 | Kit: Supply Pipe 155 Combi | 168
| INSRKIT36 | Kit: Supply Pipe 199 Combi | 170
| INSRKIT40 | Kit: Vent Outlet/Air Inlet ADA | 117
| INSRKIT41 | Kit: Flue Tube | 96
| INSRKIT42 | Wiring High Voltage Solo 110 | 208
| INSRKIT43 | Wiring High Voltage Solo 155 | 208
| INSRKIT44 | Wiring High Voltage Solo 199 | 208
| INSRKIT45 | Wiring High Voltage Combi 155 | 208
| INSRKIT46 | Wiring High Voltage Combi 199 | 208
| INSRKIT47 | Wiring Low Voltage Solo 110 | 105
| INSRKIT48 | Wiring Low Voltage Solo 155 | 105
| INSRKIT49 | Wiring Low Voltage Solo 199 | 105
| INSRKIT50 | Wiring Low Voltage Combi 155 | 122
| INSRKIT51 | Wiring Low Voltage Combi 199 | 122
| INSRKIT52 | Kit: Control Module (All) | 370
| INSRKIT55 | Kit: Enclosure (Control) | 93
| INSRKIT58 | Kit: Flow Sensor | 89
| INSRKIT60 | Kit: Hydroblock Plate HX | 244
| INSRKIT61 | Kit: Valve Motor | 213
| INSRKIT62 | Kit: 3 Way Valve | 83
| INSRKIT68 | Kit: Gaskets Hydroblock | 62
| INSRKIT69 | Kit: CH & DHW Supply Fitting | 200
| INSRKIT70 | All Solo CH Return Piping | 100
| INSRKIT71 | Kit: DHW Inlet Fitting Combi | 129
| INSRKIT72 | Kit: CH Return Fitting | 147
| INSRKIT74 | Kit: Air Inlet Elbow | 92
| INSRKIT75 | Kit: Air Inlet Reducer Adapter | 69
| INSRKIT76 | Kit: Gas Pipe Venturi 110 | 118
| INSRKIT77 | Kit: Gas Pipe Venturi 155 | 134
| INSRKIT78 | Kit: Gas Pipe Venturi 199 | 159
| INSRKIT79 | Gas Pipe Lower Solo 110 | 151
| INSRKIT80 | Gas Pipe Lower Solo 155 | 151
| INSRKIT81 | Gas Pipe Lower Solo 199 | 151
| INSRKIT82 | Gas Pipe Lower Combi 155 | 156
| INSRKIT83 | Gas Pipe Lower Combi 199 | 156
| INSRKIT89 | Gasket Kit | 348
| INSRKIT90 | Kit: Wall Mounting Bracket | 95
| INSRKIT91 | Kit: Mounting Bracket (Display) | 93
| INSRKIT92 | Kit: Mounting Bracket (Control) | 93
| INSRKIT94 | Wiring Terminal | 64
| INSRKIT98 | Kit: Condensate Pan 110 | 155
| INSRKIT99 | Kit: Condensate Pan 155 | 176
| INSRKIT100 | Kit: Condensate Pan 199 | 183
| INSRKIT104 | Kit: Burner Head Gasket 110 | 53
| INSRKIT105 | Kit: Burner Head Gasket 155/199 | 53
| INSRKIT106 | Kit: Igniter Gasket | 53
| INSRKIT107 | Kit: Blower Gasket | 63
| INSRKIT108 | Kit: Venturi Gasket | 53
| INSRKIT109 | Kit: Water Pipe Gasket | 51
| INSRKIT110 | Kit: Flue Gasket | 64
| INSRKIT111 | Kit: Venturi "O" Ring 110/155 | 50
| INSRKIT112 | Kit: Venturi "O" Ring 199 | 50
| INSRKIT114 | Kit: Gaskets Gas Pipe | 57
| INSRKIT115 | Kit: Pressure Gauge | 86
| INSRKIT116 | Kit: Foam Damper NG | 50
| INSRKIT117 | Kit: Foam Damper LP | 60
| INSRKIT127 | Condensate Trap Clip | 59
| INSRKIT131 | 110 NG to LP Conversion | 139
| INSRKIT132 | 155 NG to LP Conversion | 139
| INSRKIT133 | 199 NG to LP Conversion | 139
| INSRKIT135 | 110 LP to NG Conversion | 154
| INSRKIT136 | 155 LP to NG Conversion | 154
| INSRKIT137 | 199 LP to NG Conversion | 154
| PARKIT01 | Sensor Flue All PA | 65
| PARKIT04 | Sensor LWCO Pressure | 82
| PSRKIT05 | Condensation Drain Assembly 110-250 | 83
| PSRKIT16 | Kit: Sight Glass Assembly 110-250 | 91
| PSRKIT22 | Kit: Domestic Water Sensor | 67
| PTRKIT122 | Sensor Supply/Return (60-250) | 74
PRESTIGE PA WALL BOILERS (2016 - Present)
| PA80 | Solo 80 w/ CTRLMAX Control | 4014
| PA110 | Solo 1100 w/ CTRLMAX Control | 4334
| PA155 | Solo 155 w/ CTRLMAX Control | 5371
| PA175 | Solo 175 w/ CTRLMAX Control | 5828
| PA250 | Solo 250 w/ CTRLMAX Control | 6902
| PA299 | Solo 299 w/ CTRLMAX Control | 8426
| PA399 | Solo 399 w/ CTRLMAX Control | 10674
| PEA110 | Excellence 110 w/ CTRLMAX Control | 5277
High Pressure Model | PT399HP | Solo 399 w/ Trimax Control - 80psi | 10778
PRESTIGE PA WALL OPTIONAL EQUIPMENT
| INSRKIT122 | Wi-Fi Module 1.0 + Bracket | 174
| MDRKIT05 | System Temperature Sensor for Cascade (immersion) | 102
| PACAB01 | Cascade Connection (Multiple Boiler) cable | 34
| PARKIT105 | Kit: Repair Case PA80/110/EXC | 1677
| PARKIT106 | Kit: Repair Case PA155/175/250 | 2079
| PARKIT107A | Kit: Repair Case PA299/399 | 2053
| PARKIT108 | Kit: Manifold PRESTIGE PA80/110 | 395
| PARKIT109 | Kit: Manifold PRESTIGE PA155-250 | 434
| PSCAS17 | CSD1 Kit (manual high reset & low water cut off) | 456
| PSNEU03 | Condensate Neutralizer Kit, A must have for many local codes/ | 166
| PSVKIT01 | 3" Stainless Steel Sidewall Termination | 208
| PSVKIT02 | 4" Stainless Steel Sidewall Termination | 240
| PSVTERM03 | 2" PVC Sidewall Vent Termination Kit | 67
| PSVTERM04 | 3" PVC Sidewall Termination Kit | 67
| PSVTERM05 | 4" PVC Sidewall Termination Kit | 67
| PTSENS12 | System Temperature Sensor for Cascade (strap on) | 68
PRESTIGE PA WALL PARTS
| HMTEE09 | Tee, 3/4" x 1/2" x 3/4" | 19
| PAJKT01 | 250 Front Jacket Panel (with insulation) | 97
| PAJKT03 | 250 Left Side Jacket Panel (with insulation) | 63
| PAJKT12 | 250 Top Panel | 53
| PAJKT15 | 299/399 Front Jacket Panel (with insulation) | 105
| PAJKT16 | 299/399 Left Side Jacket Panel (with insulation) | 75
| PAJKT17 | 299/399 Top Panel - Front | 50
| PAJKT18 | 299/399 Top Panel - Rear | 70
| PAJKT21 | 250 Right Side Jacket Panel (with insulation) | 63
| PAJKT22 | 299/399 Right Side Jacket Panel (with insulation) | 75
| PARKIT01 | Sensor Flue All PA | 65
| PARKIT02 | Kit: Poly Flue Pipe (PA80/110) | 113
| PARKIT03 | Kit: Poly Flue Pipe (EXC) | 163
| PARKIT04 | Sensor LWCO Pressure | 82
| PARKIT05 | Kit: Condensation Drain Assembly 80/110/EXC | 97
| PARKIT06 | Kit: Boiler Piping Return 80/110/EXC | 122
| PARKIT07 | Kit: Boiler Piping Supply 80/110/EXC | 172
| PARKIT08 | Kit: Poly Flue Pipe (PA155/175/250) | 194
| PARKIT09 | Kit: Poly Flue Pipe (PA299/399) | 131
| PARKIT10 | Kit: Venturi Valve (PA80) | 80
| PARKIT11 | Kit: Blower PA80/110/EXC | 237
| PARKIT12 | Kit: Combustion Insulation PA80/110/EXC | 103
| PARKIT13 | Kit: Condensate Pan 60/80/110 | 189
| PARKIT14 | Kit: Burner Head PA80/110/EXC | 171
| PARKIT15 | Kit: Burner Plate PA80/110 | 222
| PARKIT17 | Kit: Gas Valve (PA80/110) | 223
| PARKIT18 | Kit: Blower Clamp Assembly | 54
| PARKIT19 | Kit: Blower Gasket | 57
| PARKIT20 | Kit: Venturi Valve (PA110) | 79
| PARKIT21 | Gasket Burner Head 80/110 | 51
| PARKIT22 | IDWH Assembly Excellence | 1726
| PARKIT23 | Kit: Stepper Valve (PA EXC) | 156
| PARKIT24 | Kit: Circulator | 478
| PARKIT30 | Kit: Venturi Valve (PA155) | 120
| PARKIT31 | Kit: Gas Pipe EXC. | 146
| PARKIT32 | Kit: Elbow Silencer 155-250 Inl | 82
| PARKIT33 | Kit: Elbow Silencer 299-399 Inl | 82
| PARKIT34 | Kit: Elbow Silencer 80/110/Exc | 71
| PARKIT35 | Kit: Boiler Piping HX Return EXC | 139
| PARKIT36 | Kit: Boiler Piping Return EXC. | 147
| PARKIT37 | Kit: Boiler Piping HX Supply EXC | 198
| PARKIT38 | Kit: Boiler Piping Supply EXC. | 146
| PARKIT39 | Kit: Boiler Piping IDW Supply EXC | 155
| PARKIT40 | Kit: Venturi Valve (PA175) | 92
| PARKIT41 | Gasket Burner Head 155/175 | 53
| PARKIT42 | Kit: Combustion Insulation PA155 | 110
| PARKIT43 | Kit: Condensate Pan 155 | 122
| PARKIT45 | Kit: Burner Plate PA155 | 254
| PARKIT46 | Kit: Boiler Piping Return 155-250 | 120
| PARKIT47 | Kit: Boiler Piping Supply 155-250 | 188
| PARKIT49 | Kit: Gasket Burner Head 299/399 | 63
| PARKIT50 | Kit: Venturi Valve (PA250) | 122
| PARKIT51 | Kit: Blower PA155-175 | 366
| PARKIT52 | Kit: Combustion Insulation PA175/250 | 124
| PARKIT53 | Kit: Condensate Pan 175/250 | 207
| PARKIT54 | Kit: Burner Head PA155-250 | 372
| PARKIT55 | Kit: Burner Plate PA175/250 | 286
| PARKIT62 | Kit: Conversion (Natural to LP) PA80 | 65
| PARKIT63 | Kit: Conversion (Natural to LP) PA110 | 64
| PARKIT64 | Kit: Conversion (Natural to LP) PA155 | 59
| PARKIT65 | Kit: Conversion (Natural to LP) PA175 | 57
| PARKIT66 | Kit: Conversion (Natural to LP) PA250 | 57
| PARKIT67 | Kit: Conversion (Natural to LP) PA299 / 399 | 64
| PARKIT68 | Kit: Connector Set ACV Max CON | 89
| PARKIT70 | Kit: Blower PA250 | 375
| PARKIT71 | Kit: Blower PA299 / 399 | 732
| PARKIT72 | Kit: Combustion Insulation PA299/399 | 155
| PARKIT73 | Kit: Condensate Pan 299/399 | 264
| PARKIT74 | KIT:BURNER HEAD PA299/399 | 529
| PARKIT75 | Kit: Burner Plate PA299/399 | 359
| PARKIT77 | GASKET HX CONN 155/175/250 | 48
| PARKIT78 | Kit: Sensor Supply / Return (PA299/399) | 90
| PARKIT79 | Kit: Gas Valve (PA299/399) | 365
| PARKIT88 | Kit: Control Box Hinge Set | 56
| PARKIT90 | Kit: Heat Exchanger PA80/110/EXC | 1484
| PARKIT91 | Kit: Heat Exchanger PA155 | 2060
| PARKIT92 | Kit: Heat Exchanger PS/PT/PA175 | 2180
| PARKIT93 | Kit: Heat Exchanger PS/PT/PA250 | 2594
| PARKIT94 | Kit: Heat Exchanger PA299 | 3574
| PARKIT95 | KIT:HEAT EXCHANGER PS/PT/PA399 | 4088
| PARKIT101 | Universal Display Module | 192
| PARKIT102 | Universal Control Module | 298
| PARKIT111 | Control Module PA 80 PB Serial Number and Display Version Below 4.03 (Low Altitude <5k') | 273
| PARKIT112 | Control Module PA 110/EXCELLENCE PB Serial Number and Display Version Below 4.03 (Low Altitude <5k') | 273
| PARKIT113 | Control Module PA 155 PB Serial Number and Display Version Below 4.03 (Low Altitude <5k') | 273
| PARKIT114 | Control Module PA 175 PB Serial Number and Display Version Below 4.03 (Low Altitude <5k') | 273
| PARKIT115 | Control Module PA 250 PB Serial Number and Display Version Below 4.03 (Low Altitude <5k') | 273
| PARKIT116 | Control Module PA 299 (V2) Updated Gas Train PB Serial Number and Display Version Below 4.03 (Low Altitude <5k') | 273
| PARKIT117 | Control Module PA 399 (V2) Updated Gas Train PB Serial Number AND Display Version Below 4.03 (Low Altitude <5k') | 273
| PARKIT118 | Control Module PA 299 (V1) Original Gas Train PB Serial Number and Display Version Below 4.03 (Low Altitude <5k') | 273
| PARKIT119 | Control Module PA 399 (V1) Original Gas Train PB Serial Number and Display Version Below 4.03 (Low Altitude <5k') | 273
| PARKIT121 | Control Module PA 80 PB Serial Number and Display Version Below 4.03 (High Altitude >5k') | 273
| PARKIT122 | Control Module PA 110/EXCELLENCE PB Serial Number and Display Version Below 4.03 (High Altitude >5k') | 273
| PARKIT123 | Control Module PA 155 PB Serial Number and Display Version Below 4.03 (High Altitude >5k') | 273
| PARKIT124 | Control Module PA 175 PB Serial Number and Display Version Below 4.03 (High Altitude >5k') | 273
| PARKIT125 | Control Module PA 250 PB Serial Number and Display Version Below 4.03 (High Altitude >5k') | 273
| PARKIT126 | Control Module PA299 (V2) Updated Gas Train PB Serial Number and Display Version Below 4.03 (High Altitude >5k') | 273
| PARKIT127 | Control Module PA 399 (V2) Updated Gas Train PB Serial Number and Display Version Below 4.03 (High Altitude >5k') | 273
| PARKIT128 | Control Module PA 299 (V1) Original Gas Train High Altitude PB Serial Number and Display Version Below 4.03 (>5k') | 273
| PARKIT129 | Control Module PA 399 (V1) Original Gas TrainPB Serial Number and Display Version Below 4.03 (High Altitude >5k') | 273
| PARKIT130 | Igniter PA80/110/EXCELLENCE | 75
| PARKIT131 | Igniter PA155/175/250 | 89
| PARKIT132 | Igniter PA299/399 | 62
| PARKIT133 | Spark Generator PA80/110/EXC/155/175/250/299 V1&V2 /399 V1&V2 | 69
| PARKIT134 | Ignition Cable PA80/110/EXC/155/175/250/299 V1&V2 /399 V1&V2 | 64
| PARKIT135 | KIT:BOILER RETURN CONNECTION | 118
| PARKIT141 | PA Serial Number Only Ignition Update Kit PA 80 | 273
| PARKIT142 | PA Serial Number Only Ignition Update Kit PA110/PEA110 | 273
| PARKIT143 | PA Serial Number Only Ignition Update Kit PA 155 | 273
| PARKIT144 | PA Serial Number Only Ignition Update Kit PA 175 | 273
| PARKIT145 | PA Serial Number Only Ignition Update Kit PA 250 | 273
| PARKIT146 | PA Serial Number Only Ignition Update Kit PA 299 Updated Gas Train | 273
| PARKIT147 | PA Serial Number Only Ignition Update Kit PA 399 Updated Gas Train | 273
| PARKIT148 | PA Serial Number Only Ignition Update Kit PA 299 Original Gas Train | 273
| PARKIT149 | PA Serial Number Only Ignition Update Kit PA 399 Original Gas Train | 273
| PARKIT151 | PA Serial Number Only Ignition Update Kit PA 80 High Altitude | 273
| PARKIT152 | PA Serial Number Only Ignition Update Kit PA110/PEA110 High Altitude | 273
| PARKIT153 | PA Serial Number ONLY Ignition Update Kit PA 155 High Altitude | 273
| PARKIT154 | PA Serial Number Only Ignition Update Kit PA175 High Altitude | 273
| PARKIT155 | PA Serial Number Only Ignition Update Kit PA 250 High Altitude | 273
| PARKIT156 | PA Serial Number Only Ignition Update Kit PA 299 Updated Gas Train High Altitude | 273
| PARKIT157 | PA Serial Number Only Ignition Update Kit PA 399 Updated Gas Train High Altitude | 273
| PARKIT158 | PA Serial Number Only Ignition Update Kit PA 299 Original Gas Train High Altitude | 273
| PARKIT159 | PA Serial Number Only Ignition Update Kit PA 399 Original Gas Train High Altitude | 273
| PARKIT163 | Kit: Gas Piping Return (80/110/E) | 135
| PSRKIT21 | Wall Bracket 110-399 Excellence | 62
| PTRKIT109 | Pressure Gage (80-250) | 76
| PTRKIT111 | Gas Valve (PA155-250) (PT60-250) | 198
| PTRKIT122 | Sensor Supply/Return (60-250) | 74
| PTRKIT123 | Flue Temperature Sensor (60-399/PA80/PA110) | 89
| PTRKIT136 | Kit: Combustion Insulation PS/PT60/110/EXC | 145
| PTRKIT137 | Kit: Burner Plate 110 | 357
| PTRKIT220 | Kit: In/Outlet Adapter (60-250) | 75
| PTRKIT221 | Kit: In/Outlet Adapter (299/399) | 95
| TCRKIT16 | V2 299/399 Blower Assembly | 762
| TCRKIT18 | V2 299/399 Gas Valve | 349
| TCRKIT19 | V2 299/399 Venturi | 203
PRESTIGE WALL CASCADE BOILERS
| CPS500 | CASCADE: 2 - 250 Prestige Boiler -Less Boilers | 10815
| CPS500 | CASCADE: 2 - 250 Prestige Boiler | 24618
| CPS600 | CASCADE: 2 Boiler (299) - Less Boilers | 11172
| CPS600 | CASCADE: 2 Boiler (299) | 28025
| CPS800 | CASCADE: 2 -399 Prestige Boiler -Less Boilers | 11172
| CPS800 | CASCADE: 2 -399 Prestige Boiler | 32521
| CPS1000 | CASCADE: 4 - 250 Prestige Boiler -Less Boilers | 16034
| CPS1000 | CASCADE: 4 - 250 Prestige Boiler | 43640
| CPS1200 | CASCADE: 3 -399 Prestige Boiler -Less Boilers | 12548
| CPS1200 | CASCADE: 3 -399 Prestige Boiler | 44570
| CPS1600 | CASCADE: 4 -399 Prestige Boiler -Less Boilers | 16748
| CPS1600 | CASCADE: 4 -399 Prestige Boiler | 59445
| CPS2000 | CASCADE: 5 -399 Prestige Boiler -Less Boilers | 18123
| CPS2000 | CASCADE: 5 -399 Prestige Boiler | 71495
PRESTIGE WALL CASCADE OPTIONAL EQUIPMENT
| MDRKIT05 | System Temperature Sensor for Cascade (immersion) | 102
| PSCAS17 | CSD1 Kit (manual high reset & low water cut off) | 456
| PSNEU03 | Condensate Neutralizer Kit, A must have for many local codes/ | 166
| PTSENS12 | System Temperature Sensor for Cascade (strap on) | 68
| PTCON22 | ProtoNode BMS, BACnet®, Modbus | 1127
| PTCON23 | ProtoNode BMS LonWorks® | 1191
PRESTIGE WALL COMMON VENTING
| PSVELB03 | 90° Elbow | 102
| PSVELB04 | 45° Elbow | 98
| PSVFLA01 | Flashing Ø° Pitch-Flat Roof | 44
| PSVFLA02 | Flashing Ø° - 25° Pitch | 393
| PSVGSK02 | Seal 150mm | 17
| PSVKIT04 | Two Boilers near Boiler Common Vent Kit | 2585
| PSVKIT05 | Three Boiler near Boiler Common Vent Kit | 3676
| PSVPIP03 | 39" Straight Length | 138
| PSVPIP04 | 79" Straight Length | 195
| PSVSUP02 | Fire Stop/Wall Support | 87
| PSVSUP03 | Support Brackets | 57
| PSVTERM01 | 26" Vertical Termination | 777
| PSVTERM02 | Horizontal Termination Common Vent | 912
KEYSTONE BOILERS
Boilers | KS399T | Keystone Condensing Boiler 399 (Limited stock, while supplies last) | 11016
| KS500T | Keystone Condensing Boiler 500 (Limited stock, while supplies last) | 15505
| KS600T | Keystone Condensing Boiler 600 (Limited stock, while supplies last) | 17216
| KS750T | Keystone Condensing Boiler 750 (Limited stock, while supplies last) | 19999
KEYSTONE OPTIONAL EQUIPMENT
| KSR602 | Water Flow Switch for Field Mount (KW285 only) (special order) | 297
| KSR604 | LWCO for Field Mount (KW285 to KW850 only) (special order) | 636
| KSR605 | High/Low GPS for Field Mount (KW199 to KW285 only) (special order) | 636
| KSR606 | High/Low GPS for Field Mount (KS399 & KW399 to KW600 only) (special order) | 636
| KSR607 | High/Low GPS for Field Mount (KW750 to KW850 only) (special order) | 616
| KSR608 | 0-10 VDC Signal Converter (special order) | 39
| PSTREA01 | Fernox Boiler Commissioning Kit #59480 | 163
| PSVKIT01 | 3" Stainless Steel Sidewall Termination | 208
| PSVKIT02 | 4" Stainless Steel Sidewall Termination | 240
| PSVTERM04 | 3" PVC Sidewall Termination Kit | 67
| PSVTERM05 | 4" PVC Sidewall Termination Kit | 67
| PTCON22 | ProtoNode BMS, BACnet®, Modbus | 1127
| PTCON23 | ProtoNode BMS LonWorks® | 1191
KEYSTONE PARTS
| KSR147 | Fuse Kit (Special Order) | 39
| KSR167 | Control: KW285T (special order) | 624
| KSR186 | Adapter (Special Order) 6" SS To PVC | 255
| KSR187 | Switch (Special Order) | 43
| KSR188 | Harness For Control (Special Order) KW500 | 194
| KSR196 | Optional Variable Speed Pump C | 1419
| KSR198 | Sensor: Return | 131
| KSR222 | Condensate Pan Assembly KW199 (Special Order) | 208
| KSR223 | Condensate Pan Assembly | 204
| KSR224 | Condensate Pan Assembly 600-850 (Special Order) | 66
| KSR300 | Combustion Air Blower KW199/285 | 1230
| KSR301 | Combustion Air Blower KS/KW 399-500 | 1713
| KSR302 | Combustion Air Blower (Special Order) KS600-850 | 2659
| KSR303 | Gas Valve / Venturi 199 (Special Order) | 345
| KSR304 | Gas Valve / Venturi | 653
| KSR305 | Gas Valve 399 (Special Order) | 805
| KSR306 | Gas Valve KS/KW 500 (Special Order) | 868
| KSR307 | Gas Valve KS/KW 600-850 (Special Order) | 2228
| KSR308 | Gas / Air Venturi | 227
| KSR313 | Gas Valve Flange Kit | 132
| KSR314 | Gas Valve / Venturi Cork Gasket (Special Order) (KS/KW500-850) | 30
| KSR315 | Gas Valve O-Ring KW199-285 | 28
| KSR316 | Venturi O-Ring KW/KS 399-850 | 33
| KSR317 | High Gas Pressure Switch (Special Order) 399 | 255
| KSR318 | High Gas Pressure Switch (Special Order) 199 | 255
| KSR319 | High Gas Pressure Switch (Special Order) 750/850 | 255
| KSR320 | Low Gas Pressure Switch (Special Order) 399 | 255
| KSR322 | Low Gas Pressure Switch (Special Order) 750/850 | 231
| KSR325 | Transition assembly for Venturi KS/KW 500 | 251
| KSR336 | Air Inlet Flex 3" Hose (Special Order) Plastic 24"L (500) | 41
| KSR341 | MOLEX CONN w Cable (Special Order) | 87
| KSR343 | Blower Gasket w/fasteners KS600-850 | 20
| KSR401 | Heat Exchanger KW285 (Special Order) | 5889
| KSR402 | Heat Exchanger 399 (Special Order) | 7901
| KSR403 | Heat Exchanger KW500 (Special Order) | 9698
| KSR404 | Heat Exchanger 600 (Special Order) | 9841
| KSR405 | Heat Exchanger 750 (Special Order) | 11636
| KSR406 | Heat Exchanger 850 (Special Order) | 13072
| KSR407 | Low Water Cutoff Switch KW/KS5 | 609
| KSR408 | Water temp sensor | 77
| KSR409 | Duplex water temp sensor | 81
| KSR410 | Duplex Stack temp sensor KW199 | 86
| KSR411 | Duplex Water Temp Sensor 285-750 | 102
| KSR412 | Pressure Relief KS 75 PSI (Special Order) | 56
| KSR413 | Pressure Relief KS 125 PSI (Special Order) | 130
| KSR414 | Air Vent | 22
| KSR415 | Burner Door w/ Gaskets (Special Order) (Up To KS/KW600) Used For Old KSR442 | 216
| KSR416 | Gaskets-Only (Burner Door) | 35
| KSR417 | Burner Gasket | 22
| KSR418 | Gasket Set (Buner, Ignitor, Sensor & Door Gaskets) | 67
| KSR419 | Front Refractory Tile 199-600 | 108
| KSR420 | Rear Refractory Tile | 86
| KSR422 | Main Burner w/ Gasket | 1220
| KSR423 | Main Burner w/ Gasket 399-500 (Special Order) | 1220
| KSR424 | Main Burner w/ Gasket 600 (Special Order) | 1304
| KSR425 | Burner W/Gasket 750 (Special Order) | 1462
| KSR426 | Burner w/Gasket 850 (Special Order) | 1625
| KSR427 | Flame Sensor w/ Gasket 199-600 (Special Order) | 83
| KSR428 | Flame Sensor w/ Gasket KS750/850 (Special Order) | 120
| KSR429 | Ignitor w/ Gasket 199-600 | 92
| KSR430 | Ignitor w/ Gasket KS750/850 | 113
| KSR431 | Ignitor Gasket | 21
| KSR432 | Ignition Cable 190-600 | 33
| KSR433 | Ignition Cable KS750/850 | 33
| KSR434 | Screw, Ignitor / Flame Sensor | 15
| KSR435 | Flame / Sensor Gasket | 20
| KSR436 | Air / Gas Channel 199-399 | 279
| KSR439 | Screw, Air / Gas Channel | 39
| KSR444 | Gasket Set (Special Order) KS/KW 750/850 | 94
| KSR445 | Tile (Special Order) Refractory Insulation, Burner Door KS/KW 750/850 | 35
| KSR501 | Transformer | 118
| KSR502 | High Voltage Shield (Special Order) | 53
| KSR505 | Rocker Switch (Special Order) | 118
| KSR506 | Control Display (Special Order) ( for non E Models) | 160
| KSR507 | Control Display CSD-1 ( for non E Models) | 294
| KSR508 | Wire Harness | 416
| KSR510 | Harness KS/KW500 (Special Order) | 433
| KSR512 | Wire Harness KS750/850 (Special Order) | 416
| KSR513 | Harness KS500, CSD1 (Special Order) | 433
| KSR514 | Wire Harness KS600 CSD-1 (Special Order) | 416
| KSR515 | Harness KS750/850 (Special Order) | 416
| KSR517 | Air Pressure Switch (Special Order) KW/KS285,500,600,850 | 39
| KSR518 | Air Pressure Switch (Special Order) KW/KS750 | 91
| KSR519 | Water Flow Switch (Special Order) KW/KS399-->850 | 363
| KSR520 | T & P Gauge | 91
| KSR523 | Gas Conversion Kit | 32
| KSR526 | Outdoor Sensor (Special Order) | 87
| KSR527 | System Sensor (Special Order) | 79
| KSR528 | DHW Sensor | 171
| KSR530 | Electronic Control Module, Standard KW199E | 688
| KSR531 | Electronic Control Module, Standard KW285E (Special Order) | 688
| KSR532 | Electronic Control Module, Standard (Special Order) | 688
| KSR533 | Electronic Control Module, Standard (Special Order) | 688
| KSR534 | Electronic Control Module, Standard KW600/750 New E Series | 688
| KSR535 | Electronic Control Module, Standard KW850T (Special Order) | 688
| KSR536 | Electronic Control Module, CSD-1 KS500E | 688
| KSR537 | Electronic Control Module, CSD-1 KS600/750E | 688
| KSR538 | Electronic Control Module, CSD-1 KS850E | 688
| KSR540 | Flame sensor wire 199-600 (Special Order) | 25
| KSR541 | Flame sensor wire 750-850 (Special Order) | 25
| KSR609 | Switch High / Low Gas (Special Order) KW399-500,KS399 | 611
| KSR703 | Control Upgrade 4A (Special Order) KW399 | 1000
| KSR704 | Control Upgrade 4A (Special Order) KW600/750 | 1000
| KSR705 | Control Upgrade 4A (Special Order) KW850 | 1000
| KSR706 | Control Conversion 4A (Special Order) KS500 | 1046
| KSR707 | Control Conversion 4A (Special Order) KS600/750 | 1078
| KSR708 | Control Conversion 4A (Special Order) KS850 | 1046
| KSR709 | Control Upgrade (Special Order) 4A KW199 | 936
| KSR714 | DISPLAY:EMEA,399 (Special Order) | 1173
| KSR715 | Control & Display Kit (Special Order) For All KW500/KW500E replaces old style display | 1000
| KSR722 | New Style Bezel "E" (Special Order) | 81
| KSR723 | Display E Units (Special Order) | 251
| KSR724 | CPVC Tail Piece 24" (Special Order) | 396
| KSR725 | Display Touchscreen All Models | 1565
Smart 316 INDIRECT WATER HEATERS
| P3SMART30 | Smart 30 Indirect Fired Water Heater | 1298
| P3SMART40 | Smart 40 Indirect Fired Water Heater | 1446
| P3SMART50 | Smart 50 Indirect Fired Water Heater | 1695
| P3SMART60 | Smart 60 Indirect Fired Water Heater | 1931
| P3SMART80 | Smart 80 Indirect Fired Water Heater | 2628
| P3SMART100 | Smart 100 Indirect Fired Water Heater | 3042
| P3SMART120 | Smart 120 Indirect Fired Water Heater | 3866
Smart 316 PARTS
| P3CVR04 | Cover Plate | 21
| P3DW01 | DRYWELL Smart 40 | 103
| P3DW02 | DRYWELL Smart 50,TR30,TR45,HL45 | 103
| P3DW03 | DRYWELL Smart 60, Smart 80,TR60,HL60 | 120
| P3DW04 | DRYWELL Smart 100,Smart 120,TR36,TR80,TR100,TR120 | 120
| P3DW05 | DRYWELL Smart 20,Smart 30,HL20,HL30 | 102
| P3KITAV01 | Air Vent (Automatic) | 34
| P3KITAV02 | Kit: Air Vent (Manual) | 20
| P3KITBTM02 | Kit: Smart Bottom | 70
| P3KITBTM03 | Kit: SM80/100 | 97
| P3KITBTM04 | Kit: SM120, Bottom Cap | 130
| P3KITDT08 | Kit: Dip Tube TR-80 / Smart80 | 78
| P3KITDT09 | 1 1/2" Recirculating Dip Tube TR-120/Smart 100/TR-100 | 88
| P3KITTH01 | Kit: Thermostat (Residential) | 62
| P3KITTH03 | Kit: Thermostat (Commercial) | 63
| P3KITTOP03 | Kit: Top Smart 80/100 | 122
| P3KITTOP04 | Kit: Top Smart 120 | 175
| P3KITTOP06 | Kit: New Top Smart 30/40/50/60 | 137
| P3KITWRS01 | Wire Harness & Snap Set | 47
| P3KNB02 | Knob: Smart Line | 21
| P3WKITDT01 | Dip Tube Smart 30 | 45
| P3WKITDT02 | Dip Tube Smart 40 | 45
| P3WKITDT03 | Dip Tube Smart 50 | 45
| P3WKITDT04 | 3/4" Recirculating Dip Tube, SM60, HL60 | 51
MAXI FLO AND BRAZED PLATE HEAT EXCHANGERS
Maxi Flo | FHEMF0080 | Maxi-Flo Heat Exchanger | 490
| FHEMF0135 | Maxi-Flo Heat Exchanger | 768
| FHEMF0135T | Maxi-Flo Heat Exchanger - Titanium | 1389
| FHEMF0200 | Maxi-Flo Heat Exchanger | 973
| FHEMF0260 | Maxi-Flo Heat Exchanger | 1175
| FHEMF0260T | Maxi-Flo Heat Exchanger - Titanium | 1810
| FHEMF0400 | Maxi-Flo Heat Exchanger | 1660
Brazed Plate | FHETTP1-14E | Brazed Plate Heat Exchanger | 416
| FHETTP1-20E | Brazed Plate Heat Exchanger | 464
| FHETTP1-30E | Brazed Plate Heat Exchanger | 532
| FHETTP4-10 | Brazed Plate Heat Exchanger | 679
| FHETTP4-14 | Brazed Plate Heat Exchanger | 796
| FHETTP4-24 | Brazed Plate Heat Exchanger | 1030
| FHETTP4-30 | Brazed Plate Heat Exchanger | 1150
| FHETTP4-50 | Brazed Plate Heat Exchanger | 1610
| FHETTP4-70 | Brazed Plate Heat Exchanger | 2040
| FHETTP7L-20 | Brazed Plate Heat Exchanger | 2644
| FHETTP7L-24 | Brazed Plate Heat Exchanger | 2916
| FHETTP7L-30 | Brazed Plate Heat Exchanger | 3322
| FHETTP7L-40 | Brazed Plate Heat Exchanger | 4072
| FHETTP7L-50 | Brazed Plate Heat Exchanger | 4823
| FHETTP7L-60 | Brazed Plate Heat Exchanger | 5586
MAXI FLO AND BRAZED PLATE HEAT EXCHANGER OPTIONAL EQUIPMENT
| MFSSKIT01 | 1 1/2" stainless steel supply & return | 107
| MFSSKIT03 | 2" stainless steel supply & return | 132
PRESTIGE PT (2012-2016) OPTIONAL EQUIPMENT
| PSRKIT22 | Kit: Domestic Water Sensor | 67
| PTCAB01 | Cascade Connection (Multiple Boiler) cable | 34
| PTCON22 | ProtoNode BMS, BACnet®, Modbus | 1127
| PTCON23 | ProtoNode BMS LonWorks® | 1191
| PTRKIT133 | PT Excellence TimeSaver Primary/Secondary Manifold without Pump | 345
| PTRKIT200 | Repair Parts Kit 60-250 MBH | 2129
| PTRKIT201 | Repair Parts Kit PT399 MBH | 3327
| PTSENS12 | System Temperature Sensor for Cascade (strap on) | 68
PRESTIGE PT PARTS
| HMGSK01 | Gasket: Venturi Cork | 17
| HMGSK12 | Gasket: Gas Valve | 17
| HMNIP24 | Nipple, Brass 3/4" | 15
| HMTEE09 | Tee, 3/4" x 1/2" x 3/4" | 19
| PARKIT92 | Kit: Heat Exchanger PS/PT/PA175 | 2180
| PARKIT93 | Kit: Heat Exchanger PS/PT/PA250 | 2594
| PARKIT95 | KIT: Heat Exchanger PS/PT/PA399 | 4088
| PEVLV01 | Valve Body | 149
| PEVLV02 | Three Way Valve Cartridge | 42
| PGRKIT20 | LWCO Device | 83
| PSCIR02 | Grundfos UP15-58 Circulator | 169
| PSCONN10 | Blower Harness Low Voltage | 86
| PSCONN11 | Blower Harness High Voltage | 86
| PSELB03 | Elbow: PVC Venturi | 93
| PSELB04 | Elbow: PVC 60 | 82
| PSFTG02 | Fitting: Compression Ring | 17
| PSGSK11 | Gasket: Venturi O-ring 399 | 28
| PSGSK18 | Gasket: Gas Valve Venturi 399 | 19
| PSGSK19 | Gasket: Air Inlet Elbow 399 | 16
| PSGSK21 | Gasket: Gas Orifice 399 | 18
| PSRKIT05 | Condensation Drain Assembly 110-250 | 83
| PSRKIT06 | Boiler Piping - Return Assembly (60/110) | 201
| PSRKIT07 | Boiler Piping - Supply Short Assembly (110 only) | 201
| PSRKIT08 | Boiler Piping - Supply Long Assembly (110 only) | 291
| PSRKIT10 | Burner Head with Gasket (Natural Gas) (Solo 60/110) | 270
| PSRKIT11 | Burner Head with Gasket (Propane) (Solo 60/110) | 259
| PSRKIT13 | Blower Kit with Gasket (Solo 175/250) | 374
| PSRKIT16 | Kit: Sight Glass Assembly 110-250 | 91
| PSRKIT21 | Wall Bracket 110-399 Excellence | 62
| PSRKIT28 | Boiler Piping - Return Assembly (175/250) | 138
| PSRKIT29 | Boiler Piping - Supply Assembly (175/250) | 169
| PSRKIT31 | Burner head with Gasket 175/250 | 417
| PSRKIT36 | Kit: Time Delay Relay Box EO-4 | 168
| PSRKIT38 | Burner Head with Gasket 399 | 677
| PSRKIT40 | Blower with Gasket 399 | 1077
| PSRKIT47 | Kit: NTC Sensor 399 | 92
| PSRKIT48 | Boiler Piping - Return Assembly 399/299 | 244
| PSRKIT49 | Boiler Piping - Supply Assembly 399/299 | 340
| PSRKIT52 | Boiler Piping - Supply Assembly (60 only) | 242
| PSRKIT54 | Boiler Piping - Supply Short Assembly EXC | 105
| PSRKIT56 | Excellence Water Heater Tank | 1367
| PSRKIT57 | Valve Actuator 3 Way Valve EXC | 131
| PSRKIT59 | Boiler Piping - Return Assembly EXC | 167
| PSRKIT60 | Boiler Piping - Supply Outlet Assembly EXC | 113
| PSRKIT61 | Boiler Piping - Supply Long Assembly EXC | 135
| PSRKIT63 | NTC3 DHW Sensor Excellence | 63
| PSRKIT64 | Kit: Prestige Component Parts | 175
| PSRKIT65 | Kit: Gas Conversion Natural to LP | 288
| PSRKIT67 | Vent/Combustion Air Adapter PT60-250 & Excellence Gasket | 40
| PSRKIT68 | Vent/Combustion Air Adapter PT399 Gasket | 40
| PSRKIT69 | Heat Exchanger/Flue Tube: PT60, PT 110 & Excellence Gasket | 40
| PSRKIT70 | Heat Exchanger/Flue Tube: PT175 & PT 250 Gasket | 40
| PSRKIT71 | Heat Exchanger/Flue Tube: PT399 Gasket | 42
| PSRKIT77 | Flue Sensor Mounting Plug for 399 | 29
| PSRKIT80 | Venturi (Solo 60) | 122
| PSRKIT81 | Venturi Valve Exc (Solo 110) | 123
| PSRKIT82 | Venturi Valve (Solo 175) | 123
| PSRKIT83 | Venturi Valve (Solo 250) | 123
| PSRKIT84 | Venturi 399 | 226
| PSRKIT90 | Kit: 60/110 Service Kit | 374
| PSRKIT91 | Kit: 175/250 Service Kit | 415
| PSVLV13 | Mixing Valve | 97
| PSWIR01 | Wire Mesh Disc 3 1/2" | 18
| PTCON19 | Control Enclosure Cover | 66
| PTFUSE01 | Fuse, 2.5A | 8
| PTFUSE02 | Fuse, 5A | 8
| PTFUSE03 | Fuse, 8B | 7
| PTGRO01 | Ignitor Cable Grommet | 13
| PTJKT08F | Front Jacket Panel | 132
| PTJKT09F | Front Jacket Panel | 137
| PTJKT14T | Top Jacket Panel | 66
| PTJKT15T | Top Jacket Panel | 95
| PTJKT16T | Top Jacket Panel | 95
| PTJKT17T | Top Jacket Panel | 50
| PTJKT22S | Side Jacket Panel (Left or Right) | 132
| PTJKT23S | Side Jacket Panel (Left or Right) | 153
| PTRKIT109 | Pressure Gage (80-250) | 76
| PTRKIT110 | Pressure Gauge and Fitting - 399 | 76
| PTRKIT111 | Gas Valve (PA155-250) (PT60-250) | 198
| PTRKIT112 | Gas Valve 399 | 349
| PTRKIT114 | Kit: Blower w/Gasket 60/110/EXC | 322
| PTRKIT115 | Vent Pipe (polypropylene) 60-110 | 161
| PTRKIT116 | Vent Pipe (polypropylene) 175-250 | 201
| PTRKIT117 | Vent Outlet Adapter 399 | 399
| PTRKIT118 | Vent Pipe (polypropylene) EXC | 186
| PTRKIT119 | Kit: Condensate Pan 60/80/110/Excellence | 189
| PTRKIT120 | Kit: Condensate Pan 175/250 | 207
| PTRKIT121 | Kit: Condensate Pan 399 | 264
| PTRKIT122 | Sensor Supply/Return (60-250) | 74
| PTRKIT123 | Flue Temperature Sensor (60-399/PA80/PA110) | 89
| PTRKIT134 | Kit: Heat Exchanger PT/EXC110 | 1540
| PTRKIT135 | Kit: Heat Exchanger 399HP High Pressure | 4602
| PTRKIT136 | Kit: Combustion Insulation PS/PT60/110/EXC | 145
| PTRKIT137 | Kit: Burner Plate 110 | 357
| PTRKIT138 | Kit: 110 Conversion (Natural to LP) | 370
| PTRKIT139 | Kit: Burner Plate 175/250 | 420
| PTRKIT140 | Kit: Combustion Insulation PS/PT175/250 | 172
| PTRKIT141 | Kit: Burner Plate 399 | 538
| PTRKIT142 | Kit: Combustion Insulation PS/PT 299/399 | 195
| PTRKIT207 | TriMax Display Module | 311
| PTRKIT220 | Kit: In/Outlet Adapter (60-250) | 75
| PTRKIT221 | Kit: In/Outlet Adapter (299/399) | 95
| PTRKIT301 | Kit: Ignition System Update Kit (PT60/110) | 273
| PTRKIT302 | Kit: Ignition System Update Kit (PT175) | 273
| PTRKIT303 | Kit: Ignition System Update Kit (PT399) | 273
| PTRKIT304 | Kit: Ignition System Update Kit (PT EXC) | 273
| PTRKIT305 | Kit: Ignition System Update Kit (PT250) | 273
| PTSWI01 | Switch: Power | 42
| PTSWI02 | Switch: Power Cover | 38
| PTWIR09 | Wire Harness (PT60 & PT110) | 308
| PTWIR10 | Wire Harness (PT399) | 308
| PTWIR11 | Wire Harness (PT175 & PT250) | 180
| PTWIR12 | Wire Harness (Excellence) | 180
| PTWSH01 | Washer: Condensate Trap | 17
PRESTIGE PS (2012) OPTIONAL EQUIPMENT
| PSNEU01 | Condensate Neutralizer Kit | 110
| PSNEU02 | Neutralizer Refill Kit | 20
| PSNEU03 | Condensate Neutralizer Kit, A must have for many local codes/ | 166
| PSRKIT22 | Kit: Domestic Water Sensor | 67
| PSSTND02 | Wall Kit Prestige 399 (recommended for anything other than a block or brick wall) | 555
| PSSTND03 | Floor Leg Stand Assembly 399 (ordered in addition to wall kit) | 748
| PSTREA01 | Fernox Boiler Commissioning Kit #59480 | 155
| PSVCLP02 | Vent Clamp | 28
| PSVELB01 | Vent Elbow 4" 90** | 88
| PSVELB02 | Vent Elbow 4" 45** | 95
| PSVGSK01 | Vent Seal VITON** | 23
| PSVKIT01 | 3" Stainless Steel Sidewall Termination | 208
| PSVKIT02 | 4" Stainless Steel Sidewall Termination | 240
| PSVPIP01 | 12" - 17" Adjustable Concentric Straight Length | 129
| PSVPIP02 | 40" Concentric Straight Length | 116
| PSVSUP01 | Firestop Support Plate | 63
| PSVSUP03 | Support Brackets | 57
| PSVTERM03 | 2" PVC Sidewall Vent Termination Kit | 67
| PSVTERM04 | 3" PVC Sidewall Termination Kit | 67
| PSVTERM05 | 4" PVC Sidewall Termination Kit | 67
PRESTIGE PS PARTS
| HMGSK01 | Gasket: Venturi Cork | 17
| HMNIP24 | Nipple, Brass 3/4" | 15
| HMRLV01 | Pressure Relief Valve 30 psi | 42
| HMTEE09 | Tee, 3/4" x 1/2" x 3/4" | 19
| PARKIT92 | Kit: Heat Exchanger PS/PT/PA175 | 2180
| PARKIT93 | Kit: Heat Exchanger PS/PT/PA250 | 2594
| PARKIT95 | Kit: Heat Exchanger PS/PT/PA399 | 4088
| PEVLV01 | Valve Body | 149
| PEVLV02 | Three Way Valve Cartridge | 42
| PGRKIT01 | Gas Valve Kit | 222
| PGRKIT15 | Gas Valve Rectifier Plug | 82
| PGRKIT20 | LWCO Device | 83
| PSCIR02 | Grundfos UP15-58 Circulator | 169
| PSCONN04 | Connector: 9 PIN Male | 30
| PSCONN05 | Connector: 13 PIN Male | 41
| PSCONN06 | Connector: 9 PIN Female | 36
| PSCONN07 | Connector: 13 PIN Female | 50
| PSCONN10 | Blower Harness Low Voltage | 86
| PSCONN11 | Blower Harness High Voltage | 86
| PSCS01 | Control Panel | 88
| PSELB01 | Elbow: PVC to Venturi (Solo 110-250) | 48
| PSELB02 | Elbow: Brass 90 3/4 | 22
| PSELB03 | Elbow: PVC Venturi | 93
| PSELB04 | Elbow: PVC 60 | 82
| PSFTG02 | Fitting: Compression Ring | 17
| PSFUSE01 | Fuse 4 AMP (the same for all Solos) | 14
| PSFUSE02 | Fuse 5 AMP (the same for all Solos) | 14
| PSGSK03 | Gasket: Ignitor | 17
| PSGSK04 | Gasket: NTC Sensor | 15
| PSGSK09 | Supply Gasket or return Gasket (Solo 175, 250) | 17
| PSGSK11 | Gasket: Venturi O-ring 399 | 28
| PSGSK12 | Gasket: Sup/Ret Piping | 17
| PSGSK18 | Gasket: Gas Valve Venturi 399 | 19
| PSGSK19 | Gasket: Air Inlet Elbow 399 | 16
| PSGSK20 | Gasket: Burner Head 399 | 34
| PSGSK21 | Gasket: Gas Orifice 399 | 18
| PSGSK25 | Gasket: Boiler Pipe/HX | 132
| PSJKT01F | Jacket Front | 318
| PSRKIT02 | Vent Outlet Adapter (60/110) | 248
| PSRKIT03 | Combustion Air Inlet Adapter 110-250 | 137
| PSRKIT05 | Condensation Drain Assembly 110-250 | 83
| PSRKIT06 | Boiler Piping - Return Assembly (60/110) | 201
| PSRKIT07 | Boiler Piping - Supply Short Assembly (110 only) | 201
| PSRKIT08 | Boiler Piping - Supply Long Assembly (110 only) | 291
| PSRKIT10 | Burner Head with Gasket (Natural Gas) (Solo 60/110) | 270
| PSRKIT11 | Burner Head with Gasket (Propane) (Solo 60/110) | 259
| PTRKIT137 | Kit: Burner Plate 110 | 357
| PSRKIT13 | Blower Kit with Gasket (SOLO 175/250) | 374
| PSRKIT14 | Kit: Ignition Cable 110-250 | 65
| PSRKIT15 | Kit: Igniter w/Gasket 110-250 | 71
| PSRKIT16 | Kit: Sight Glass Assembly 110-250 | 91
| PSRKIT17 | Pressure Gauge | 71
| PSRKIT19 | Transformer with Surge Protection | 107
| PSRKIT20 | Prestige Control Module Display (with Ribbon Cable) | 154
| PSRKIT21 | Wall Bracket 110-399 Excellence | 62
| PSRKIT22 | Kit: Domestic Water Sensor | 67
| PSRKIT23 | AM4 Multiple Boiler Interface Kit | 235
| PSRKIT24 | LP to Natural Gas Conversion Kit 60-250 also 110 LP to natural | 30
| PSRKIT27 | Vent Outlet Adapter (175/250) | 380
| PSRKIT28 | Boiler Piping - Return Assembly (175/250) | 138
| PSRKIT29 | Boiler Piping - Supply Assembly (175/250) | 169
| PSRKIT31 | Burner head with Gasket 175/250 | 417
| PSRKIT33 | Natural Gas to LP Conversion Kit (60/175/250) | 40
| PSRKIT36 | Kit: Time Delay Relay Box EO-4 | 168
| PSRKIT38 | Burner Head with Gasket 399 | 677
| PSRKIT39 | Burner Plate 399 (Replace with PTRKIT141) | 0
| PSRKIT40 | Blower with Gasket 399 | 1077
| PSRKIT41 | Gas Valve 399 | 449
| PSRKIT42 | Gas Valve Piping 399 | 221
| PSRKIT43 | Gas Supply Piping 399 | 213
| PSRKIT46 | Combustion Air Inlet Adapter 399 | 221
| PSRKIT47 | Kit: NTC Sensor 399 | 92
| PSRKIT48 | Boiler Piping - Return Assembly 399/299 | 244
| PSRKIT49 | Boiler Piping - Supply Assembly 399/299 | 340
| PSRKIT50 | MCBA Control Module | 557
| PSRKIT51 | Natural Gas to LP Gas Conversion Kit 399 | 56
| PSRKIT52 | Boiler Piping -Supply Assembly (60 only) | 242
| PSRKIT53 | LP to Natural Gas Conversion Kit 399 | 71
| PSRKIT54 | Boiler Piping - Supply Short Assembly EXC | 105
| PSRKIT56 | Excellence Water Heater Tank | 1367
| PSRKIT57 | Valve Actuator 3 Way Valve EXC | 131
| PSRKIT58 | MCBA Prestige Control Module EXC | 615
| PSRKIT59 | Boiler Piping - Return Assembly EXC | 167
| PSRKIT60 | Boiler Piping - Supply Outlet Assembly EXC | 113
| PSRKIT61 | Boiler Piping - Supply Long Assembly EXC | 135
| PSRKIT62 | Boiler Piping - Relief Valve Assembly EXC | 159
| PSRKIT63 | NTC3 DHW Sensor Excellence | 63
| PSRKIT64 | Kit: Prestige Component Parts | 175
| PSRKIT65 | Kit: Gas Conversion Natural to LP | 288
| PSRKIT67 | Vent/Combustion Air Adapter PT60-250 & Excellence Gasket | 40
| PSRKIT68 | Vent/Combustion Air Adapter PT399 Gasket | 40
| PSRKIT69 | Heat Exchanger/Flue Tube: PT60, PT 110 & Excellence Gasket | 40
| PSRKIT70 | Heat Exchanger/Flue Tube: PT175 & PT 250 Gasket | 40
| PSRKIT71 | Heat Exchanger/Flue Tube: PT399 Gasket | 42
| PSRKIT73 | Vent Outlet Adapter PE110 | 248
| PSRKIT77 | Flue Sensor Mounting Plug for 399 | 29
| PSRKIT80 | Venturi (Solo 60) | 122
| PSRKIT81 | Venturi Valve Exc (Solo 110) | 123
| PSRKIT82 | Venturi Valve (Solo 175) | 123
| PSRKIT83 | Venturi Valve (Solo 250) | 123
| PSRKIT84 | Venturi 399 | 226
| PSRKIT90 | Kit: 60/110 Service Kit | 374
| PSRKIT91 | Kit: 175/250 Service Kit | 415
| PSRKIT92 | Kit:399 Service Kit | 495
| PSRKIT99 | Kit: Heat Exchange PS/EXC110 O/S Natural and LP | 2029
| PSSCR03 | Thumbscrew | 8
| PSSENS01 | Outdoor Sensor Kit | 72
| PSVLV13 | Mixing Valve | 97
| PSSWI01 | Power Switch | 22
| PSWIR01 | Wire Mesh Disc 3 1/2" | 18
| PSWIR02 | Wiring Tool | 15
| PSWIR03 | 4" Screen | 19
| PSWIR05 | Wire Harness (Solo 110-250) | 439
| PSWIR07 | Wire Harness | 464
| PTRKIT109 | Pressure Gage (80-250) | 76
| PTRKIT111 | Gas Valve (PA155-250) (PT60-250) | 198
| PTRKIT114 | Kit: Blower w/Gasket 60/110/EXC | 322
| PTRKIT117 | Vent Outlet Adapter 399 | 399
| PTRKIT141 | Kit: Burner Plate 399 | 538
Smart TR & HL
| P3DW01 | DRYWELL Smart 40 | 103
| P3DW02 | DRYWELL Smart 50,TR30,TR45,HL45 | 103
| P3DW03 | DRYWELL Smart 60, Smart 80,TR60,HL60 | 120
| P3DW04 | DRYWELL Smart 100,Smart 120,TR36,TR80,TR100,TR120 | 120
| P3DW05 | DRYWELL Smart 20,Smart 30,HL20,HL30 | 102
| P3KITAV01 | Air Vent (Automatic) | 34
| P3KITDT08 | Kit: Dip Tube TR-80 / Smart80 | 78
| P3KITDT09 | 1 1/2" Recirculating Dip Tube TR-120/Smart100/TR-100 | 88
| P3KITTH01 | Kit: Thermostat (Residential) | 62
| P3KITTH03 | Kit: Thermostat (Commercial) | 63
| P3KITTHR01 | Thermometer | 49
| P3KITWRS01 | Wire Harness & Snap Set | 47
| P3KNB02 | Knob: Smart Line | 21
| P3WKITDT01 | Dip Tube Smart 30 | 45
| P3WKITDT02 | Dip Tube Smart 40 | 45
| P3WKITDT03 | Dip Tube Smart 50 | 45
| P3WKITDT04 | 3/4" Recirculating Dip Tube, SM60, HL60 | 51
COMFORT TANK
| P3DW06 | DRYWELL Comfort Tank | 50
| P3KITBTM05 | Kit: Comfort Bottom | 75
| P3KITTH04 | Kit: Thermostat (Comfort) | 50
| P3KITTOP05 | Kit: Top Comfort | 75
CHALLENGER OPTIONAL EQUIPMENT
| CCRKIT202 | Timesaver Pri Sec Man, w Grundfos UPS15-58 FC Pump, 1.25" Brazed Sys Connections | 446
| CCSTRA01 | DHW Strainer (Lead Free) | 87
| PSNEU01 | Condensate Neutralizer Kit | 110
| PSNEU02 | Neutralizer Refill Kit | 20
CHALLENGER PARTS
Replacement Parts | CCCLB01 | Ignition Cable | 34
| CCFTG01 | Connector Pipe CH | 22
| CCFTG02 | Connector Pipe DHW | 22
| CCGAU01 | Temperature and Pressure Gauge | 62
| CCRKIT04 | Wall Bracket Assembly | 60
| CCRKIT05 | Piping Connectors & Brackets | 162
| CCRKIT06 | Front Door Assembly CC85 | 466
| CCRKIT07 | Front Door Assembly CC105 | 476
| CCRKIT08 | Front Door Assembly CC125 | 480
| CCRKIT10 | Vent Assembly CC85 | 113
| CCRKIT11 | Vent Assembly CC105 | 114
| CCRKIT12 | Vent Assembly CC125 | 116
| CCRKIT13 | Condensate Collector Assembly | 155
| CCRKIT14 | Condensate Drain Trap Assembly (85, 105, 125) | 78
| CCRKIT14A | Kit: Condensate Trap CC150 | 75
| CCRKIT15 | Ignitor Assembly | 80
| CCRKIT16 | Sight Glass Assembly | 71
| CCRKIT17 | CH Sensor Assembly | 91
| CCRKIT18 | DHW Flow Switch Assembly | 139
| CCRKIT19 | LWCO/CH Pressure Sensor Assembly | 116
| CCRKIT20 | CH Supply Pipe Assembly CC85 | 160
| CCRKIT21 | CH Supply Pipe Assembly CC8105 | 166
| CCRKIT22 | CH Supply Pipe Assembly CC125, CC150 | 171
| CCRKIT23 | CH Return Pipe Assembly | 97
| CCRKIT26 | DHW Supply Pipe Assembly | 72
| CCRKIT27 | DHW Return Pipe Assembly | 72
| CCRKIT28 | Ignition Transformer Assembly | 111
| CCRKIT29 | Gas Valve Assembly REPLACED WITH CCRKIT60 | 398
| CCRKIT30 | Gas Pipe Assembly CC85 | 142
| CCRKIT31 | Gas Pipe Assembly CC105, CC125, CC150 | 142
| CCRKIT32 | Blower Assembly | 569
| CCRKIT33 | Burner Assembly | 458
| CCRKIT34 | Control Flip-down Panel | 18
| CCRKIT35 | Vent/Air Adaptor Assembly | 118
| CCRKIT36 | Flue Sensor | 68
| CCRKIT40 | Kit: Bushing for Igniter | 50
| CCRKIT41 | Kit: Gasket Condensate Trap | 50
| CCRKIT42 | Kit: Wiring Harness LWCO | 53
| CCRKIT43 | Kit: Connector 9 Pin 24V | 54
| CCRKIT44 | Kit: Connector 8 Pin , 120V | 54
| CCRKIT45 | Kit: Venturi 406 | 118
| CCRKIT46 | Kit: Venturi 362 | 75
| CCRKIT47 | Kit: Orifice Blower Out CC85 | 47
| CCRKIT48 | Kit: Orifice Blower Out CC105 | 47
| CCRKIT49 | Kit: Restrictor DHW 2 GPM | 50
| CCRKIT50 | Kit: Restrictor DHW 2.5 GPM | 50
| CCRKIT51 | Kit: Restrictor DHW 3 GPM | 50
| CCRKIT52 | Kit: Control Display CC50S | 494
| CCRKIT53 | Kit: Control Display CC85/105/125 And Solo | 494
| CCRKIT54 | Kit: Control Display CC125H/HS | 494
| CCRKIT55 | Kit: Control Display CC150S | 494
| CCRKIT56 | Kit: DHW Flow Sensor Assembly | 145
| CCRKIT57 | Kit: DHW Cold Pipe Assembly | 75
| CCRKIT59 | Kit: Igniter Transformer Assembly | 95
| CCRKIT60 | Kit: Gas Valve (Updated) | 395
| CCRKIT61 | Kit: Upper Gas Pipe New 50/85/105 | 89
| CCRKIT62 | Kit: Upper Gas Pipe New 125/150 | 89
| CCRKIT63 | Kit: Venturi 471 (CC125H) | 64
| CCRKIT64 | Kit: Natural to LP Conversion | 68
| CCRKIT66 | Kit: Natural to LP Conversion | 63
| CCRKIT97 | Kit: Challenger Repair Parts | 2104
| CCSENS02 | DHW Sensor | 26
| PSSENS01 | Outdoor Sensor Kit | 72
| PSVLV13 | Mixing Valve | 97
Component Parts | CCGSK01 | Gasket: Igniter | 7
| CCGSK03 | Gasket: Blower Outlet | 8
| CCGSK04 | Gasket: Venturi Inlet | 7
| CCGSK05 | Gasket: Gas Valve Orifice | 7
| CCGSK06 | Gasket: Gas Valve Inlet | 7
| CCGSK07 | Gasket: Flow Switch | 8
| CCGSK08 | Gasket: Flip Panel | 7
| CCGSK09 | Gasket: 3" Adapter | 9
| CCGSK10 | Gasket: Outlet Vent Assembly | 13
| CCGSK11 | Gasket: Inlet Vent Assembly | 8
| CCGSK12 | Gasket: HX Condensate | 8
| CCGSK13 | Gasket: Burner | 9
| CCGSK14 | Gasket: Burner Screws | 8
| CCGSK15 | Gasket: Pipe Assembly | 7
| CCGSK16 | Gasket: Pipe/HX | 8
| CCGSK18 | Gasket: Condensate Pan | 13
| CCGSK19 | Gasket: Door | 9
| CCGSK20 | Gasket: Electrical | 8
| CCGSK21 | Gasket: HX Front CC85 | 18
| CCGSK22 | Gasket: HX Front CC105 | 18
| CCGSK23 | Gasket: HX Front CC125 | 18
HEAT MASTER PARTS
| HMEXP01 | Expansion Tank | 107
| HMGAU01 | Temperature & Pressure Gauge | 46
| HMRLV01 | Pressure Relief Valve 30 psi | 42
| HMTEE09 | Tee, 3/4" x 1/2" x 3/4" | 19
| HMTPV01 | T & P Relief Valve 150 psi | 133
| P3KITAV01 | Air Vent (Automatic) | 34
| PGRKIT20 | LWCO Device | 83
| PGRKIT22 | Manual Safety Aquastat Kit | 169
| PGRKIT23 | Automatic Reset Kit | 97
| PSWEL02 | Bulb Well: 1/2" NPT x 6" | 53
| HMGAU01 | Temperature & Pressure Gauge | 46
| HMRLV01 | Pressure Relief Valve 30 psi | 42
| HMTEE09 | Tee, 3/4" x 1/2" x 3/4" | 19
| P3DW05 | DRYWELL Smart20,Smart30,HL20,HL30 | 102
| P3KITAV01 | Air Vent (Automatic) | 34
| PGRKIT18 | Transformer Kit | 78
| PGRKIT19 | Relay Kit | 78
| PGRKIT20 | LWCO Device | 83
| PGRKIT21 | Thermostat Kit | 82
| PGRKIT22 | Manual Safety Aquastat Kit | 169
| PGRKIT23 | Automatic Reset Kit | 97
| PSCIR02 | Grundfos UP15-58 Circulator | 169
| PSWEL02 | Bulb Well: 1/2" NPT x 6" | 53
Modulating Series | HMGSK01 | Gasket: Venturi Cork | 17
| HMGSK12 | Gasket: Gas Valve | 17
| HMGSK14 | Blower Gasket | 17
| HMTEE09 | Tee, 3/4" x 1/2" x 3/4" | 19
| MDRKIT01 | Domestic NTC Sensor | 80
| MDRKIT02 | Air Switch | 88
| MDRKIT03 | MCBA Control Module | 872
| MDRKIT04 | Control Module Display | 153
| MDRKIT05 | System Temperature Sensor for Cascade (Immersion) | 102
| MDRKIT08 | Igniter with Gasket | 86
| MDRKIT09 | Burner Plate Insulation & Gasket | 179
| PGRKIT01 | Gas Valve Kit | 222
| PGRKIT15 | Gas Valve Rectifier Plug | 82
| PGRKIT20 | LWCO Device | 83
| PGRKIT37 | Burner Head | 264
| PSCIR02 | Grundfos UP15-58 Circulator | 169
| PSRIB02 | Ribbon: MCBA Control Display | 43
| PSRKIT14 | Kit: Ignition Cable 110-250 | 65
| PSRKIT19 | Transformer with Surge Protection | 107
| PSWIR01 | Wire Mesh Disc 3 1/2" | 18
PG (Burner Repair Kits) | HMCAB02 | Ignition Wire | 44
| PGRKIT01 | Gas Valve Kit | 222
| PGRKIT02 | PG-25 Blower / motor replacement kit | 533
| PGRKIT03 | PG-30 Blower / motor replacement kit | 612
| PGRKIT04 | PG-35 Blower / motor replacement kit | 612
| PGRKIT05 | PG-40 Blower / motor replacement kit | 533
| PGRKIT06 | PG-45 Blower / motor replacement kit | 533
| PGRKIT07 | Natural gas to Propane conversion kit | 153
| PGRKIT08 | Propane to Natural gas conversion kit | 153
| PGRKIT09 | Burner head replacement kit | 264
| PGRKIT10 | Burner head replacement kit | 264
| PGRKIT11 | Pressure switch replacement kit with 1.84" w.c. pressure switch | 66
| PGRKIT12 | Pressure switch replacement kit with 2.7" w.c. pressure switch | 66
| PGRKIT13 | Pressure switch replacement kit with 3.35" w.c. pressure switch | 66
| PGRKIT14 | Ignitor replacement kit | 134
| PGRKIT15 | Gas Valve Rectifier Plug | 82
| PGRKIT16 | UT Ignition control module replacement kit | 222
| PGRKIT17 | Ignitor replacement kit | 134
Components | TCRKIT01 | Kit: Flue Pipe (240-399) | 141
| TCRKIT02 | Kit: Upper Recirc Pipe (240-399) | 126
| TCRKIT03 | Kit: Lower Recirc Pipe (240-399) | 135
| TCRKIT04 | Kit: Circulator (240-399) | 756
| TCRKIT07 | Kit: Combustion Insulation 240 | 153
| TCRKIT08 | Kit: Burner Head 240 | 441
| TCRKIT09 | Kit: Burner Plate 240 | 177
| TCRKIT10 | Kit: Igniter TC240 | 122
| TCRKIT11 | Kit: Gas Valve Pipe 240 | 181
| TCRKIT12 | Kit: Gas Pressure Switch 240/399 | 95
| TCRKIT14 | Kit: Combustion Insulation 399 | 71
| TCRKIT15 | Kit: Burner Head 399 | 447
| TCRKIT16 | V2 299/399 Blower Assembly | 762
| TCRKIT17 | Kit: Burner Plate 399 | 188
| TCRKIT18 | V2 299/399 Gas Valve | 349
| TCRKIT19 | V2 299/399 Venturi | 203
| TCRKIT20 | Kit: Igniter TC 299/399 | 122
| TCRKIT21 | Kit: Gas Valve Pipe 399 | 160
| TCRKIT22 | Kit: Power Switch | 70
| TCRKIT25 | Kit: 240 Conversion (Natural to LP) | 63
| TCRKIT26 | Kit: 399 Conversion (Natural to LP) | 78
| TCRKIT27 | Kit: Gasket Igniter TC240 | 34
| TCRKIT28 | Kit: Gasket Igniter TC399 | 34
| TCRKIT29 | Kit: Gasket Burner Head TC240 | 63
| TCRKIT30 | Kit: Gasket Burner Head TC399 | 70
| TCRKIT31 | Kit: Gasket Blower TC240-399 | 65
MARQUIS TANKLESS WATER HEATER PARTS
| MQRKIT01 | Spare Parts Kit | 63
| MQRKIT02 | Anchor / Wall Bracket Mount | 63
| MQRKIT03 | Gas Conversion Kit | 82
| MQRKIT04 | LP Conversion Kit | 80
| MQRKIT05 | Exhaust Connector Assembly | 74
| MQRKIT06 | Cabinet | 56
| MQRKIT07 | Door Assembly | 98
| MQRKIT08 | Display Panel Cover | 57
| MQRKIT09 | Ignition Transformer | 78
| MQRKIT10 | Gas Inlet Nipple | 56
| MQRKIT11 | Overheat Sensor | 56
| MQRKIT12 | DHW Supply Pipe Assembly | 72
| MQRKIT13 | Condensate Trap Assembly | 60
| MQRKIT14 | Condensate Air Pressure Hose | 56
| MQRKIT15 | Air Pressure Switch | 65
| MQRKIT16 | Display Bracket | 60
| MQRKIT17 | Display Panel | 119
| MQRKIT18 | Control Board (PCB) | 202
| MQRKIT19 | Control Board Bracket | 62
| MQRKIT20 | Power Switch | 56
| MQRKIT21 | Flow Control Valve | 144
| MQRKIT22 | Water Inlet Valve Assembly | 93
| MQRKIT23 | Water Inlet Filter | 65
| MQRKIT24 | Case Bracket (Left / Right) | 54
| MQRKIT25 | Air Intake Connector Assembly | 72
| MQRKIT26 | Heat Exchanger Assembly | 1093
| MQRKIT27 | Sensor Exhaust Temperature | 60
| MQRKIT28 | Exhaust Gasket | 59
| MQRKIT29 | Exhaust / HX Packing | 64
| MQRKIT30 | Blower Assembly | 216
| MQRKIT31 | Blower | 125
| MQRKIT32 | Blower "O" Ring | 56
| MQRKIT33 | Silencer Elbow | 57
| MQRKIT34 | Silencer Body | 59
| MQRKIT35 | Burner Head | 72
| MQRKIT36 | Gasket Ignition Rod | 56
| MQRKIT37 | Ignition Rod | 65
| MQRKIT38 | Blower Head Bracket | 56
| MQRKIT39 | Overheat Sensor (Burner) | 56
| MQRKIT40 | Metal Fiber Assembly | 119
| MQRKIT41 | Flame Detector | 56
| MQRKIT42 | Mixing Valve | 144
| MQRKIT43 | Sensor Heat Exchanger Temperature | 60
| MQRKIT44 | Sensor Overheat Exchanger | 56
| MQRKIT45 | DHW Outlet Pipe | 83
| MQRKIT46 | Water Piping Clip | 56
| MQRKIT47 | DHW Inlet Pipe | 87
| MQRKIT48 | Ceramic Heater | 75
| MQRKIT49 | Pipe: Gas Valve (Upper) | 60
| MQRKIT50 | Pipe: Gas Valve (Lower) | 70
| MQRKIT51 | Gas Valve Adapter (Straight) | 54
| MQRKIT52 | Gas Valve Assembly | 181
| MQRKIT53 | Gas Valve Plug | 56
| MQRKIT54 | Gas Valve Adapter (90 Degree) | 56
| MQRKIT55 | Bracket: Bottom HX (Left) | 60
| MQRKIT56 | Bracket: Bottom HX (Right) | 60
| MQRKIT57 | Bracket: Top HX (Right/Left) | 54
| MQRKIT58 | Screen 3" | 65
| MQRKIT59 | Condensate Hose | 63
| MQRKIT60 | Screen 2" | 65
| MQRKIT61 | Bracket: Case (Lower) | 56
| MQRKIT62 | Sensor: Water Outlet | 67
| MQRKIT63 | Exchanger / Burner Gasket | 82
| MQRKIT64 | Flame Detection Sensor Body | 56
| MQRKIT65 | Internal Condensate Hose | 60
| MQRKIT66 | Gasket Ignition Rod | 56
| MQRKIT67 | Power Cord | 118
| MQRKIT68 | Connector Assembly | 100
| MQRKIT69 | Harness: Cascade | 39
| MQRKIT70 | Service Parts Kit | 1903