## Ideal Heating 04-01-23
Trade Price Book
Effective April 1, 2023
| Part # | Description | Trade Price | Bar Code
EXALT FLOOR STANDING
| IDEXFS110S | Exalt FSB 110 Heat Only | 4204
| IDEXFS110SLP | Exalt FSB 110 Heat Only LP | 4204
| IDEXFS155C | Exalt FSB 155 Combi * | 4774
| IDEXFS155CLP | Exalt FSB 155 Combi LP * | 4774
| IDEXFS155S | Exalt FSB 155 Heat Only | 4421
| IDEXFS155SLP | Exalt FSB 155 Heat Only LP | 4421
| IDEXFS199C | Exalt FSB 199 Combi * | 4947
| IDEXFS199CLP | Exalt FSB 199 Combi LP * | 4947
| IDEXFS199S | Exalt FSB 199 Heat Only | 4809
| IDEXFS199SLP | Exalt FSB 199 Heat Only LP | 4809
* DHW output GPM (70F Rise) 155-4.0 / 199 - 5.3
EXALT FLOOR STANDING OPTIONAL EQUIPMENT
| EXRKIT101 | Kit: Complete Service Kit | 2553
| EXRKIT102 | Kit: First Aid Service Kit | 1915
| EXRKIT103 | Kit: Service Kit | 486
| EXRKIT119 | Wi-Fi Bracket | 46
| GACAB01 | Cascade Connection (Multiple Boiler) cable | 34
EXALT FLOOR STANDING PARTS
| EXRKIT01 | 110 Heat Exchanger | 1623
| EXRKIT02 | 155 Heat Exchanger | 2084
| EXRKIT03 | 199 Heat Exchanger | 2567
| EXRKIT04 | 110 155 Blower | 441
| EXRKIT05 | 199 Blower | 531
| EXRKIT06 | Gas Valve | 355
| EXRKIT07 | VENTURI 110 NG | 154
| EXRKIT08 | VENTURI 110 LP | 155
| EXRKIT09 | VENTURI 155 NG | 154
| EXRKIT10 | VENTURI 155 LP | 154
| EXRKIT11 | VENTURI 199 NG | 154
| EXRKIT12 | VENTURI 199 LP | 142
| EXRKIT13 | VENTURI Interface | 65
| EXRKIT14 | 110 Burner Plate | 295
| EXRKIT15 | 155 Burner Plate | 331
| EXRKIT16 | 199 Burner Plate | 331
| EXRKIT17 | Outdoor Sensor | 75
| EXRKIT18 | Combustion Insulation (110) | 145
| EXRKIT19 | Combustion Insulation (155) | 168
| EXRKIT20 | Combustion Insulation (199) | 172
| EXRKIT21 | Circulator | 298
| EXRKIT22 | Gas Valve Gaskets | 25
| EXRKIT24 | 110 Burner | 238
| EXRKIT25 | 155 199 Burner | 311
| EXRKIT26 | Igniter Cable | 64
| EXRKIT27 | Igniter | 96
| EXRKIT28 | Spark Transformer | 106
| EXRKIT30 | 110 Top Insulation | 69
| EXRKIT31 | 155 Top Insulation | 62
| EXRKIT32 | 199 Top Insulation | 75
| EXRKIT40 | Vent Adapters | 117
| EXRKIT41 | Flue Tube | 96
| EXRKIT52 | Control And Display Module | 579
| EXRKIT55 | Control Enclosure | 93
| EXRKIT56 | Sensor Supply/Return (60-250) | 74
| EXRKIT57 | Flue Temperature Sensor | 65
| EXRKIT58 | DHW Flow Sensor | 89
| EXRKIT59 | Low Water Cut Off | 82
| EXRKIT60 | Hydroblock | 244
| EXRKIT61 | 3 Way Valve Motor | 213
| EXRKIT62 | 3 Way Valve Insert | 83
| EXRKIT68 | Hydroblock Gaskets | 62
| EXRKIT69 | Combi Supply Fittings (CH & DHW) | 200
| EXRKIT71 | Combi DWH Inlet Fitting | 129
| EXRKIT72 | CH Return Fitting | 147
| EXRKIT74 | Air Inlet Elbow | 92
| EXRKIT75 | Rubber Air Inlet Adapter | 69
| EXRKIT85 | Condensate Drain Assembly | 83
| EXRKIT87 | Sight Glass Assembly | 91
| EXRKIT88 | Kit: Domestic Water Sensor | 67
| EXRKIT89 | Gasket Kit | 348
| EXRKIT91 | Display Mounting Bracket | 95
| EXRKIT92 | Control Module Mounting Bracket | 93
| EXRKIT98 | 110 Condensate Pan | 155
| EXRKIT99 | 155 Condensate Pan | 176
| EXRKIT100 | 199 Condensate Pan | 183
| EXRKIT104 | Gasket: Burner Head (110) #181 | 53
| EXRKIT105 | Gasket: Burner Head (155,199) | 53
| EXRKIT106 | Gasket: Igniter #181230 | 53
| EXRKIT107 | Gasket: Blower #181564 | 63
| EXRKIT108 | Gasket: Venturi Interface (All | 53
| EXRKIT109 | Gasket: Water Pipe | 51
| EXRKIT110 | Gasket: Chimney (All) #181657 | 64
| EXRKIT111 | 110/155 Venturi O-Ring | 50
| EXRKIT112 | 199 Venturi O-Ring | 50
| EXRKIT114 | Gas Pipe Gaskets | 57
| EXRKIT115 | Pressure Gauge | 86
| EXRKIT116 | NG Foam | 50
| EXRKIT117 | LP Foam | 60
| EXRKIT120 | FSB Feet | 51
| EXRKIT128 | FSB Display | 365
| EXRKIT129 | Igniter Cable FSB | 51
| EXRKIT131 | 110 NG to LP Conversion | 139
| EXRKIT132 | 155 NG to LP Conversion | 139
| EXRKIT133 | 199 NG to LP Conversion | 139
| EXRKIT134 | FSB Control Board | 351
| EXRKIT135 | 110 LP to NG Conversion | 154
| EXRKIT136 | 155 LP to NG Conversion | 154
| EXRKIT137 | 199 LP to NG Conversion | 154
| GARKIT24 | LWCO Pressure Sensor | 82
EXALT WALL
| IDEX110LP | Exalt WB 110 Heat Only LP | 2693
| IDEX110S | Exalt WB 110 Heat Only | 2693
| IDEX155C | Exalt WB 155 Combi * | 2933
| IDEX155CLP | Exalt WB 155 Combi LP * | 2933
| IDEX155LP | Exalt WB 155 Heat Only LP | 2881
| IDEX155S | Exalt WB 155 Heat Only | 2881
| IDEX199C | Exalt WH 199 Combi * | 3161
| IDEX199CLP | Exalt WH 199 Combi LP * | 3161
| IDEX199LP | Exalt WH 199 Heat Only LP | 3066
| IDEX199S | Exalt WB 199 Heat Only | 3066
* DHW output GPM (70F Rise) 155-4.0 / 199 - 5.3
EXALT WALL OPTIONAL EQUIPMENT
| EXRKIT84 | EXALT Wall (Combi Only) Manifold | 442
| EXRKIT101 | Kit: Complete Service Kit | 2553
| EXRKIT102 | Kit: First Aid Service Kit | 1915
| EXRKIT103 | Kit: Service Kit | 486
| EXRKIT122 | Wi-Fi Module 1.0 + Bracket | 174
| GACAB01 | Cascade Connection (Multiple Boiler) cable | 34
EXALT WALL PARTS
| EXRKIT01 | 110 Heat Exchanger | 1623
| EXRKIT02 | 155 Heat Exchanger | 2084
| EXRKIT03 | 199 Heat Exchanger | 2567
| EXRKIT04 | 110 155 Blower | 441
| EXRKIT05 | 199 Blower | 531
| EXRKIT06 | Gas Valve | 355
| EXRKIT07 | VENTURI 110 NG | 154
| EXRKIT08 | VENTURI 110 LP | 155
| EXRKIT09 | VENTURI 155 NG | 154
| EXRKIT10 | VENTURI 155 LP | 154
| EXRKIT11 | VENTURI 199 NG | 154
| EXRKIT12 | VENTURI 199 LP | 142
| EXRKIT13 | VENTURI Interface | 65
| EXRKIT14 | 110 Burner Plate | 295
| EXRKIT15 | 155 Burner Plate | 331
| EXRKIT16 | 199 Burner Plate | 331
| EXRKIT17 | Outdoor Sensor | 75
| EXRKIT18 | Combustion Insulation (110) | 145
| EXRKIT19 | Combustion Insulation (155) | 168
| EXRKIT20 | Combustion Insulation (199) | 172
| EXRKIT22 | Gas Valve Gaskets | 25
| EXRKIT21 | Circulator | 298
| EXRKIT24 | 110 Burner | 238
| EXRKIT25 | 155 199 Burner | 311
| EXRKIT26 | Igniter Cable | 64
| EXRKIT27 | Igniter | 96
| EXRKIT28 | Spark Transformer | 106
| EXRKIT30 | 110 Top Insulation | 69
| EXRKIT31 | 155 Top Insulation | 62
| EXRKIT32 | 199 Top Insulation | 75
| EXRKIT33 | 110 Supply Pipe | 183
| EXRKIT34 | 155-199 Heat Only Supply Pipe | 175
| EXRKIT35 | 155 Combi Supply Pipe | 168
| EXRKIT36 | 199 Combi Supply Pipe | 170
| EXRKIT40 | Vent Adapters | 117
| EXRKIT41 | Flue Tube | 96
| EXRKIT42 | Wiring High Voltage Heat Only 110 | 208
| EXRKIT43 | Wiring High Voltage Heat Only 155 | 208
| EXRKIT44 | Wiring High Voltage Heat Only 199 | 208
| EXRKIT45 | Wiring High Voltage Combi 155 | 208
| EXRKIT46 | Wiring High Voltage Combi 199 | 208
| EXRKIT47 | Wiring Low Voltage Heat Only 110 | 105
| EXRKIT48 | Wiring Low Voltage Heat Only 155 | 105
| EXRKIT49 | Wiring Low Voltage Heat Only 199 | 105
| EXRKIT50 | Wiring Low Voltage Combi 155 | 122
| EXRKIT51 | Wiring Low Voltage Combi 199 | 122
| EXRKIT52 | Control And Display Module | 579
| EXRKIT55 | Control Enclosure | 93
| EXRKIT56 | Sensor Supply/Return (60-250) | 74
| EXRKIT57 | Flue Temperature Sensor | 65
| EXRKIT58 | DHW Flow Sensor | 89
| EXRKIT59 | Low Water Cut Off | 82
| EXRKIT60 | Hydroblock | 244
| EXRKIT61 | 3 Way Valve Motor | 213
| EXRKIT62 | 3 Way Valve Insert | 83
| EXRKIT68 | Hydroblock Gaskets | 62
| EXRKIT69 | Combi Supply Fittings (CH & DHW) | 200
| EXRKIT70 | All Heat Only CH Return Piping | 100
| EXRKIT71 | Combi DWH Inlet Fitting | 129
| EXRKIT72 | CH Return Fitting | 147
| EXRKIT74 | Air Inlet Elbow | 92
| EXRKIT75 | Rubber Air Inlet Adapter | 69
| EXRKIT76 | 110 Venturi Gas Pipe | 118
| EXRKIT77 | 155 Venturi Gas Pipe | 134
| EXRKIT78 | 199 Venturi Gas Pipe | 159
| EXRKIT79 | Gas Pipe Heat Only 110 | 151
| EXRKIT80 | Gas Pipe Heat Only 155 | 151
| EXRKIT81 | Gas Pipe Heat Only 199 | 151
| EXRKIT82 | Gas Pipe Combi 155 | 156
| EXRKIT83 | Gas Pipe Combi 199 | 156
| EXRKIT85 | Condensate Drain Assembly | 83
| EXRKIT87 | Sight Glass Assembly | 91
| EXRKIT88 | Domestic Water Sensor | 67
| EXRKIT89 | Gasket Kit | 348
| EXRKIT90 | Wall Bracket | 84
| EXRKIT91 | Display Mounting Bracket | 95
| EXRKIT92 | Control Module Mounting Bracket | 93
| EXRKIT94 | Wiring Terminal | 64
| EXRKIT98 | 110 Condensate Pan | 155
| EXRKIT99 | 155 Condensate Pan | 176
| EXRKIT100 | 199 Condensate Pan | 183
| EXRKIT104 | Gasket: Burner Head (110) #181 | 53
| EXRKIT105 | Gasket: Burner Head (155,199) | 53
| EXRKIT106 | Gasket: Igniter #181230 | 53
| EXRKIT107 | Gasket: Blower #181564 | 63
| EXRKIT108 | Gasket: Venturi Interface | 53
| EXRKIT109 | Gasket: Water Pipe | 51
| EXRKIT110 | Gasket: Chimney (All) #181657 | 64
| EXRKIT111 | 110/155 Venturi O-Ring | 50
| EXRKIT112 | 199 Venturi O-Ring | 50
| EXRKIT114 | Gas Pipe Gaskets | 57
| EXRKIT115 | Pressure Gauge | 86
| EXRKIT116 | Kit: Foam Damper NG | 50
| EXRKIT117 | Kit: Foam Damper LP | 60
| EXRKIT127 | Condensate Trap Clip | 59
| EXRKIT131 | 110 NG To LP Conversion | 139
| EXRKIT132 | 155 NG To LP Conversion | 139
| EXRKIT133 | 199 NG To LP Conversion | 139
| EXRKIT135 | 110 LP To NG Conversion | 154
| EXRKIT136 | 155 LP To NG Conversion | 154
| EXRKIT137 | 199 LP To NG Conversion | 154
| GARKIT24 | LWCO Pressure Sensor | 82
GALLANT WALL BOILERS
| IDGA250 | Gallant WB 250 Heat Only | 6916
| IDGA299 | Gallant WB 299 Heat Only | 8426
| IDGA399 | Gallant WB 399 Heat Only | 10653
GALLANT WALL OPTIONAL EQUIPMENT
| EXRKIT122 | Wi-Fi Module 1.0 + Bracket | 174
| GACAB01 | Cascade Connection (Multiple Boiler) Cable | 34
| GARKIT40 | Gallant 250 Service Parts Kit | 2079
| MDRKIT05 | System Temperature Sensor For Cascade (Immersion) | 102
| PSCAS17 | Csd1 Kit (Manual High Reset & Low Water Cut Off) | 456
| PSNEU03 | Condensate Neutralizer Kit | 166
| PSVKIT01 | 3" Stainless Steel Sidewall Termination (250) | 208
| PSVKIT02 | 4" Stainless Steel Sidewall Termination (299/399) | 240
| PSVTERM04 | 3" PVC Sidewall Termination Kit (250) | 67
| PSVTERM05 | 4" PVC Sidewall Termination Kit (299/399) | 67
| PTSENS12 | System Temperature Sensor For Cascade (Strap On) | 68
GALLANT WALL PARTS
| EXRKIT17 | Outdoor Sensor | 75
| GARKIT01 | Heat Exchanger Body 250 | 2594
| GARKIT02 | Heat Exchanger Body Gallant 299 | 3574
| GARKIT03 | Heat Exchanger Body Gallant 399 | 4088
| GARKIT04 | 250 Ignitor Assembly | 89
| GARKIT05 | 299/399 Ignitor Assembly | 62
| GARKIT06 | Spark Generator and Bracket | 69
| GARKIT07 | 250 Combustion Chamber 2-in-1 Insulation | 124
| GARKIT08 | 299/399 Combustion Chamber 2-in-1 Insulation | 155
| GARKIT09 | 250 Blower Assembly (with Gasket) | 375
| GARKIT10 | 299/399 Blower Assembly | 762
| GARKIT11 | Blower Clamp | 54
| GARKIT12 | Blower Gasket | 57
| GARKIT13 | 250 Burner Head Assembly (with Gasket) | 372
| GARKIT14 | 250 Burner Plate Assembly | 286
| GARKIT15 | 299/399 Burner Head Assembly (with Gasket) | 529
| GARKIT16 | 299/399 Burner Plate Assembly | 359
| GARKIT17 | 250 Venturi | 123
| GARKIT18 | 299/399 Venturi | 203
| GARKIT19 | 250 Gas Valve | 198
| GARKIT20 | 299/399 Gas Valve | 349
| GARKIT21 | Display Module | 192
| GARKIT22 | Control Module | 298
| GARKIT23 | Flue Temperature Sensor | 65
| GARKIT24 | LWCO Pressure Sensor | 82
| GARKIT25 | 250 Supply/Return Temperature Sensor | 74
| GARKIT26 | 299/399 Supply/Return Temperature Sensor | 90
| GARKIT28 | Kit: In/Outlet Adapter (60-250) | 75
| GARKIT29 | Kit: In/Outlet Adapter (299/399) | 95
| GARKIT30 | 250 Polypropylene Vent Pipe | 194
| GARKIT31 | 299/399 Polypropylene Vent Pipe | 131
| GARKIT32 | 299/399 Boiler Piping - Return Assembly | 120
| GARKIT33 | 299/399 Boiler Piping - Supply Assembly | 188
| GARKIT34 | 299/399 Boiler Piping - Return Assembly | 244
| GARKIT35 | 299/399 Boiler Piping - Supply Assembly | 340
| GARKIT36 | 250 Polypropylene Condensate | 207
| GARKIT37 | 299/399 Polypropylene Condensate Pan | 264
| GARKIT38 | Condensate Drain Assembly | 83
| GARKIT39 | Wall Mounting Bracket with Hardware | 62
| GARKIT66 | 250 NG to LP Conversion | 57
| GARKIT67 | 299-399 NG to LP Conversion | 64
GALLANT WALL CASCADE BOILERS
| CPS500 | CASCADE: 2 - 250 Gallant Boiler -Less Boilers | 10815
|  | CASCADE: 2 - 250 Gallant Boiler -With Boilers | 24648
| CPS600 | CASCADE: 2 -299 Gallant Boiler - Less Boilers | 11172
| CPS600 | CASCADE: 2 - 299 Gallant Boiler- With Boilers | 28025
| CPS800 | CASCADE: 2 -399 Gallant Boiler -Less Boilers | 11172
|  | CASCADE: 2 -399 Gallant Boiler -With Boilers | 32479
| CPS1000 | CASCADE: 4 - 250 Gallant Boiler -Less Boilers | 16034
|  | CASCADE: 4 - 250 Gallant Boiler -With Boilers | 43699
| CPS1200 | CASCADE: 3 -399 Gallant Boiler -Less Boilers | 12548
|  | CASCADE: 3 -399 Gallant Boiler -With Boilers | 44507
| CPS1600 | CASCADE: 4 -399 Gallant Boiler -Less Boilers | 16748
|  | CASCADE: 4 -399 Gallant Boiler -With Boilers | 59361
| CPS2000 | CASCADE: 5 -399 Gallant Boiler -Less Boilers | 18123
|  | CASCADE: 5 -399 Gallant Boiler -With Boilers | 71390
GALLANT WALL CASCADE OPTIONAL EQUIPMENT
| MDRKIT05 | System Temperature Sensor For Cascade (Immersion) | 102
| PSCAS17 | CSD-1 Kit (Manual High Reset & Low Water Cut Off) | 456
| PSNEU03 | Condensate Neutralizer Kit | 166
| PTSENS12 | System Temperature Sensor For Cascade (Strap On) | 68
| PTCON22 | ProtoNode BMS, BACnet®, Modbus | 1127
| PTCON23 | ProtoNode BMS LonWorks® | 1191
GALLANT WALL COMMON VENTING
| GAVKIT04 | Two Boilers near Boiler Common Vent Kit | 2585
| GAVKIT05 | Kit: Three Boiler Common Vent | 3676
| PSVELB03 | 90° Elbow | 102
| PSVELB04 | 45° Elbow | 98
| PSVFLA01 | Flashing Ø° Pitch-Flat Roof | 44
| PSVFLA02 | Flashing Ø° - 25° Pitch | 393
| PSVGSK02 | Seal 150mm | 17
| PSVPIP03 | 39" Straight Length | 138
| PSVPIP04 | 79" Straight Length | 195
| PSVSUP02 | Fire Stop/Wall Support | 87
| PSVSUP03 | Support Brackets | 57
| PSVTERM01 | 26" Vertical Termination | 734
| PSVTERM02 | Horizontal Termination Common Vent | 828
MAXI FLO AND BRAZED PLATE HEAT EXCHANGERS
Maxi Flo | FHEMF0080 | Maxi-Flo Heat Exchanger | 490
| FHEMF0135 | Maxi-Flo Heat Exchanger | 768
| FHEMF0135T | Maxi-Flo Heat Exchanger - Titanium | 1389
| FHEMF0200 | Maxi-Flo Heat Exchanger | 973
| FHEMF0260 | Maxi-Flo Heat Exchanger | 1175
| FHEMF0260T | Maxi-Flo Heat Exchanger - Titanium | 1810
| FHEMF0400 | Maxi-Flo Heat Exchanger | 1660
Brazed Plate | FHETTP1-14E | Brazed Plate Heat Exchanger | 416
| FHETTP1-20E | Brazed Plate Heat Exchanger | 464
| FHETTP1-30E | Brazed Plate Heat Exchanger | 532
| FHETTP4-10 | Brazed Plate Heat Exchanger | 679
| FHETTP4-14 | Brazed Plate Heat Exchanger | 796
| FHETTP4-24 | Brazed Plate Heat Exchanger | 1030
| FHETTP4-30 | Brazed Plate Heat Exchanger | 1150
| FHETTP4-50 | Brazed Plate Heat Exchanger | 1610
| FHETTP4-70 | Brazed Plate Heat Exchanger | 2040
| FHETTP7L-20 | Brazed Plate Heat Exchanger | 2644
| FHETTP7L-24 | Brazed Plate Heat Exchanger | 2916
| FHETTP7L-30 | Brazed Plate Heat Exchanger | 3322
| FHETTP7L-40 | Brazed Plate Heat Exchanger | 4072
| FHETTP7L-50 | Brazed Plate Heat Exchanger | 4823
| FHETTP7L-60 | Brazed Plate Heat Exchanger | 5586
MAXI FLO HEAT EXCHANGER OPTIONAL EQUIPMENT
| MFSSKIT01 | 1 1/2" Stainless Steel Supply & Return | 105
| MFSSKIT03 | 2" Stainless Steel Supply & Return | 130