## TT Barcodes 2022
| Trade Price Book |  | New Items Added
| Effective August 26, 2022 |  | Dropped
| Part # | Description | Trade Price | Bar Code
INSTINCT FLOOR STANDING BOILERS
| INSFS110S | Solo 110 | 3864
| INSFS155S | Solo 155 | 4066
| INSFS199S | Solo 199 | 4430
| INSFS155C | Combi 155 * | 4420
| INSFS199C | Combi 199 * | 4581
* DHW output GPM (70F Rise) 155-4.0 / 199 - 5.3
INSTINCT FLOOR STANDING OPTIONAL EQUIPMENT
| INSRKIT101 | Kit:Complete Service Kit | 2431
| INSRKIT102 | Kit: First Aid Service Kit | 1824
| INSRKIT103 | Kit: Service Kit | 463
| INSRKIT119 | Wifi Bracket | 44
| PACAB01 | Cascade Connection (Multiple Boiler) cable | 32
INSTINCT FLOOR STANDING PARTS
| INSRKIT01 | Kit: Heat Exchanger 110 | 1546
| INSRKIT02 | Kit: Heat Exchanger 155 | 1985
| INSRKIT03 | Kit: Heat Exchanger 199 | 2445
| INSRKIT04 | Kit: Blower (110-155) | 420
| INSRKIT05 | Kit: Blower 199 | 506
| INSRKIT06 | Kit: Gas Valve | 338
| INSRKIT07 | Kit: Venturi 110 NG | 147
| INSRKIT08 | Kit: Venturi 110 LP | 148
| INSRKIT09 | Kit: Venturi 155 NG | 147
| INSRKIT10 | Kit: Venturi 155 LP | 147
| INSRKIT11 | Kit: Venturi 199 NG | 147
| INSRKIT12 | Kit: Venturi 199 LP | 135
| INSRKIT13 | Kit: Venturi Air Inlet Coupling | 62
| INSRKIT14 | Kit: Burner Plate 110 | 281
| INSRKIT15 | Kit: Burner Plate 155 | 315
| INSRKIT16 | Kit: Burner Plate 199 | 315
| INSRKIT17 | Outdoor Sensor | 71
| INSRKIT18 | Kit: Combustion Insulation (110) | 138
| INSRKIT19 | Kit: Combustion Insulation (155) | 160
| INSRKIT20 | Kit: Combustion Insulation (199) | 164
| INSRKIT21 | Kit: Circulator | 284
| INSRKIT24 | Kit: Burner Head 110 | 227
| INSRKIT25 | Kit: Burner Head 155-199 | 296
| INSRKIT26 | Kit: Igniter Cable | 61
| INSRKIT27 | Kit: Igniter | 91
| INSRKIT28 | Spark Transformer | 101
| INSRKIT30 | Kit: HX Insulation ( Top 110) | 66
| INSRKIT31 | Kit: HX Insulation ( Top 155) | 59
| INSRKIT32 | Kit: HX Insulation ( Top 199) | 71
| INSRKIT40 | Kit: Vent Outlet/Air Inlet ADA | 111
| INSRKIT41 | Kit: Flue Tube | 91
| INSRKIT52 | Kit: Control Module (All) | 352
| INSRKIT55 | Kit: Enclosure (Control) | 89
| INSRKIT58 | Kit: Flow Sensor | 85
| INSRKIT60 | Kit: Hydroblock Plate HX | 232
| INSRKIT61 | Kit: Valve Motor | 203
| INSRKIT62 | Kit: 3 Way Valve | 79
| INSRKIT64 | Kit: CH Supply Fitting Combi | 179
| INSRKIT65 | Kit: DHW Supply Fitting Combi | 92
| INSRKIT66 | Kit: DHW Inlet Fitting Combi | 117
| INSRKIT67 | Kit: CH Return Fitting Combi | 119
| INSRKIT68 | Kit: Gaskets Hydroblock | 59
| INSRKIT69 | Kit: CH & DHW Supply Fitting | 190
| INSRKIT71 | Kit: DHW Inlet Fitting Combi | 123
| INSRKIT72 | Kit: CH Return Fitting | 140
| INSRKIT74 | Kit: Air Inlet Elbow | 88
| INSRKIT75 | Kit: Air Inlet Reducer Adapter | 66
| INSRKIT89 | Gasket Kit | 331
| INSRKIT91 | Kit: Mounting Bracket (Display) | 89
| INSRKIT92 | Kit: Mounting Bracket (Control) | 89
| INSRKIT98 | Kit: Condensate Pan 110 | 148
| INSRKIT99 | Kit: Condenste Pan 155 | 168
| INSRKIT100 | Kit: Condensate Pan 199 | 174
| INSRKIT104 | Kit: Burner Head Gasket 110 | 50
| INSRKIT105 | Kit: Burner Head Gasket 155/199 | 50
| INSRKIT106 | Kit: Igniter Gasket | 50
| INSRKIT107 | Kit: Blower Gasket | 60
| INSRKIT108 | Kit: Venturi Gasket | 50
| INSRKIT109 | Kit: Water Pipe Gasket | 49
| INSRKIT110 | Kit: Flue Gasket | 61
| INSRKIT111 | Kit: Venturi "O" Ring 110/155 | 48
| INSRKIT112 | Kit: Venturi "O" Ring 199 | 48
| INSRKIT114 | Kit: Gaskets Gas Pipe | 54
| INSRKIT115 | Kit: Pressure Gauge | 82
| INSRKIT116 | Kit: Foam Damper NG | 48
| INSRKIT117 | Kit: Foam Damper LP | 57
| INSRKIT120 | FSB Feet | 49
| INSRKIT128 | FSB Display | 348
| INSRKIT129 | Igniter Cable FSB | 49
| INSRKIT131 | 110 NG to LP Conversion | 132
| INSRKIT132 | 155 NG to LP Conversion | 132
| INSRKIT133 | 199 NG to LP Conversion | 132
| INSRKIT134 | FSB Control Board | 334
| INSRKIT135 | 110 LP to NG Conversion | 147
| INSRKIT136 | 155 LP to NG Conversion | 147
| INSRKIT137 | 199 LP to NG Conversion | 147
| PARKIT01 | Sensor Flue All PA | 62
| PARKIT04 | Sensor LWCO Pressure | 78
| PSRKIT05 | Condensation Drain Assembly 110-250 | 79
| PSRKIT16 | Kit: Sight Glass Assembly 110-250 | 87
| PTRKIT122 | Sensor Supply/Return (60-250) | 70
INSTINCT WALL BOILERS
| INS110S | Solo 110 | 2391
| INS155S | Solo 155 | 2563
| INS199S | Solo 199 | 2733
| INS155C | Combi 155 * | 2611
| INS199C | Combi 199 * | 2819
* DHW output GPM (70F Rise) 155-4.0 / 199 - 5.3
INSTINCT WALL OPTIONAL EQUIPMENT
| INSRKIT84 | INSTINCT Wall (Combi Only) Manifold | 425
| INSRKIT101 | Kit:Complete Service Kit | 2431
| INSRKIT102 | Kit: First Aid Service Kit | 1824
| INSRKIT103 | Kit: Service Kit | 463
| INSRKIT122 | Wifi Module 1.0 + Bracket | 166
| PACAB01 | Cascade Connection (Multiple Boiler) cable | 32
INSTINCT WALL PARTS
| INSRKIT01 | Kit: Heat Exchanger 110 | 1546
| INSRKIT02 | Kit: Heat Exchanger 155 | 1985
| INSRKIT03 | Kit: Heat Exchanger 199 | 2445
| INSRKIT04 | Kit: Blower (110-155) | 420
| INSRKIT05 | Kit: Blower 199 | 506
| INSRKIT06 | Kit: Gas Valve | 338
| INSRKIT07 | Kit: Venturi 110 NG | 147
| INSRKIT08 | Kit: Venturi 110 LP | 148
| INSRKIT09 | Kit: Venturi 155 NG | 147
| INSRKIT10 | Kit: Venturi 155 LP | 147
| INSRKIT11 | Kit: Venturi 199 NG | 147
| INSRKIT12 | Kit: Venturi 199 LP | 135
| INSRKIT13 | Kit: Venturi Air Inlet Coupling | 62
| INSRKIT14 | Kit: Burner Plate 110 | 281
| INSRKIT15 | Kit: Burner Plate 155 | 315
| INSRKIT16 | Kit: Burner Plate 199 | 315
| INSRKIT17 | Outdoor Sensor | 71
| INSRKIT18 | Kit: Combustion Insulation (110) | 138
| INSRKIT19 | Kit: Combustion Insulation (155) | 160
| INSRKIT20 | Kit: Combustion Insulation (199) | 164
| INSRKIT21 | Kit: Circulator | 284
| INSRKIT24 | Kit: Burner Head 110 | 227
| INSRKIT25 | Kit: Burner Head 155-199 | 296
| INSRKIT26 | Kit: Igniter Cable | 61
| INSRKIT27 | Kit: Igniter | 91
| INSRKIT28 | Spark Transformer | 101
| INSRKIT30 | Kit: HX Insulation ( Top 110) | 66
| INSRKIT31 | Kit: HX Insulation ( Top 155) | 59
| INSRKIT32 | Kit: HX Insulation ( Top 199) | 71
| INSRKIT33 | Kit: Supply Pipe 110 | 174
| INSRKIT34 | Kit: Supply Pipe 155-199 Solo | 167
| INSRKIT35 | Kit: Supply Pipe 155 Combi | 160
| INSRKIT36 | Kit: Supply Pipe 199 Combi | 162
| INSRKIT40 | Kit: Vent Outlet/Air Inlet ADA | 111
| INSRKIT41 | Kit: Flue Tube | 91
| INSRKIT42 | WIRING HIGH VOLTAGE SOLO 110 | 198
| INSRKIT43 | WIRING HIGH VOLTAGE SOLO 155 | 198
| INSRKIT44 | WIRING HIGH VOLTAGE SOLO 199 | 198
| INSRKIT45 | WIRING HIGH VOLTAGE COMBI 155 | 198
| INSRKIT46 | WIRING HIGH VOLTAGE COMBI 199 | 198
| INSRKIT47 | WIRING LOW VOLTAGE SOLO 110 | 100
| INSRKIT48 | WIRING LOW VOLTAGE SOLO 155 | 100
| INSRKIT49 | WIRING LOW VOLTAGE SOLO 199 | 100
| INSRKIT50 | WIRING LOW VOLTAGE COMBI 155 | 116
| INSRKIT51 | WIRING LOW VOLTAGE COMBI 199 | 116
| INSRKIT52 | Kit: Control Module (All) | 352
| INSRKIT55 | Kit: Enclosure (Control) | 89
| INSRKIT58 | Kit: Flow Sensor | 85
| INSRKIT60 | Kit: Hydroblock Plate HX | 232
| INSRKIT61 | Kit: Valve Motor | 203
| INSRKIT62 | Kit: 3 Way Valve | 79
| INSRKIT64 | Kit: CH Supply Fitting Combi | 179
| INSRKIT65 | Kit: DHW Supply Fitting Combi | 92
| INSRKIT66 | Kit: DHW Inlet Fitting Combi | 117
| INSRKIT67 | Kit: CH Return Fitting Combi | 119
| INSRKIT68 | Kit: Gaskets Hydroblock | 59
| INSRKIT69 | Kit: CH & DHW Supply Fitting | 190
| INSRKIT70 | All Solo CH Return Piping | 95
| INSRKIT71 | Kit: DHW Inlet Fitting Combi | 123
| INSRKIT72 | Kit: CH Return Fitting | 140
| INSRKIT74 | Kit: Air Inlet Elbow | 88
| INSRKIT75 | Kit: Air Inlet Reducer Adapter | 66
| INSRKIT76 | Kit: Gas Pipe Venturi 110 | 112
| INSRKIT77 | Kit: Gas Pipe Venturi 155 | 128
| INSRKIT78 | Kit: Gas Pipe Venturi 199 | 151
| INSRKIT79 | Gas Pipe Lower Solo 110 | 144
| INSRKIT80 | Gas Pipe Lower Solo 155 | 144
| INSRKIT81 | Gas Pipe Lower Solo 199 | 144
| INSRKIT82 | Gas Pipe Lower Combi 155 | 149
| INSRKIT83 | Gas Pipe Lower Combi 199 | 149
| INSRKIT90 | Kit: Wall Mounting Bracket | 90
| INSRKIT91 | Kit: Mounting Bracket (Display) | 89
| INSRKIT92 | Kit: Mounting Bracket (Control) | 89
| INSRKIT94 | Wiring Terminal | 61
| INSRKIT98 | Kit: Condensate Pan 110 | 148
| INSRKIT99 | Kit: Condenste Pan 155 | 168
| INSRKIT100 | Kit: Condensate Pan 199 | 174
| INSRKIT104 | Kit: Burner Head Gasket 110 | 50
| INSRKIT105 | Kit: Burner Head Gasket 155/199 | 50
| INSRKIT106 | Kit: Igniter Gasket | 50
| INSRKIT107 | Kit: Blower Gasket | 60
| INSRKIT108 | Kit: Venturi Gasket | 50
| INSRKIT109 | Kit: Water Pipe Gasket | 49
| INSRKIT110 | Kit: Flue Gasket | 61
| INSRKIT111 | Kit: Venturi "O" Ring 110/155 | 48
| INSRKIT112 | Kit: Venturi "O" Ring 199 | 48
| INSRKIT114 | Kit: Gaskets Gas Pipe | 54
| INSRKIT115 | Kit: Pressure Gauge | 82
| INSRKIT116 | Kit: Foam Damper NG | 48
| INSRKIT117 | Kit: Foam Damper LP | 57
| INSRKIT127 | Condenstae Trap Clip | 56
| INSRKIT131 | 110 NG to LP Conversion | 132
| INSRKIT132 | 155 NG to LP Conversion | 132
| INSRKIT133 | 199 NG to LP Conversion | 132
| INSRKIT135 | 110 LP to NG Conversion | 147
| INSRKIT136 | 155 LP to NG Conversion | 147
| INSRKIT137 | 199 LP to NG Conversion | 147
| PARKIT01 | Sensor Flue All PA | 62
| PARKIT04 | Sensor LWCO Pressure | 78
| PSRKIT05 | Condensation Drain Assembly 110-250 | 79
| PSRKIT16 | Kit: Sight Glass Assembly 110-250 | 87
| PSRKIT22 | Kit: Domestic Water Sensor | 64
| PTRKIT122 | Sensor Supply/Return (60-250) | 70
PRESTIGE PA WALL BOILERS (2016 - Present)
| PA80 | Solo 80 w/ CTRLMAX Control | 3823
| PA110 | Solo 1100 w/ CTRLMAX Control | 4128
| PA155 | Solo 155 w/ CTRLMAX Control | 5115
| PA175 | Solo 175 w/ CTRLMAX Control | 5550
| PA250 | Solo 250 w/ CTRLMAX Control | 6573
| PA299 | Solo 299 w/ CTRLMAX Control | 8025
| PA399 | Solo 399 w/ CTRLMAX Control | 10166
| PEA110 | Excellence 110 w/ CTRLMAX Control | 5026
High Pressure Model | PT399HP | Solo 399 w/ Trimax Control - 80psi | 10265
PRESTIGE PA WALL OPTIONAL EQUIPMENT
| INSRKIT122 | Wifi Module 1.0 + Bracket | 166
| MDRKIT05 | System Temperature Sensor for Cascade (immersion) | 97
| PACAB01 | Cascade Connection (Multiple Boiler) cable | 32
| PARKIT105 | Kit: Repair Case PA80/110/EXC | 1597
| PARKIT106 | Kit: Repair Case PA155/175/250 | 1980
| PARKIT107 | Kit: Repair Case PA299/399 | 1955
| PARKIT108 | Kit: Manifold PRESTIGE PA80/110 | 376
| PARKIT109 | Kit:Manifold PRESTIGE PA155-250 | 413
| PSCAS17 | CSD1 Kit (manual high reset & low water cut off) | 434
| PSNEU03 | Condensate Neutralizer Kit, A must have for many local codes/ | 158
| PSVKIT01 | 3" Stainless Steel Sidewall Termination | 198
| PSVKIT02 | 4" Stainless Steel Sidewall Termination | 229
| PSVTERM03 | 2" PVC Sidewall Vent Termination Kit (Solo 60 & 110 only) | 64
| PSVTERM04 | 3" PVC Sidewall Termination Kit | 64
| PSVTERM05 | 4" PVC Sidewall Termination Kit | 64
| PTSENS12 | System Temperature Sensor for Cascade (strap on) | 65
PRESTIGE PA WALL PARTS
| HMTEE09 | Tee, 3/4" x 1/2" x 3/4" | 18
| PARKIT01 | Sensor Flue All PA | 62
| PARKIT02 | Kit: Poly Flue Pipe (PA80/110) | 108
| PARKIT03 | Kit: Poly Flue Pipe (EXC) | 155
| PARKIT04 | Sensor LWCO Pressure | 78
| PARKIT05 | Kit: Condensation Drain Assembly 80/110/EXC | 92
| PARKIT06 | Kit: Boiler Piping Return 80/110/EXC | 116
| PARKIT07 | Kit: Boiler Piping Supply 80/110/EXC | 164
| PARKIT08 | Kit: Poly Flue Pipe (PA155/175/250) | 185
| PARKIT09 | Kit: Poly Flue Pipe (PA299/399) | 125
| PARKIT10 | Kit: Venturi Valve (PA80) | 76
| PARKIT11 | Kit: Blower PA80/110/EXC | 226
| PARKIT12 | Kit: Combustion Insulation PA80/110/EXC | 98
| PARKIT13 | Kit: Condensate Pan 60/80/110 | 180
| PARKIT14 | Kit: Burner Head PA80/110/EXC | 163
| PARKIT15 | Kit: Burner Plate PA80/110 | 211
| PARKIT17 | Kit: Gas Valve (PA80/110) | 212
| PARKIT18 | Kit: Blower Clamp Assembly | 51
| PARKIT19 | Kit: Blower Gasket | 54
| PARKIT20 | Kit: Venturi Valve (PA110) | 75
| PARKIT21 | Gasket Burner Head 80/110 | 49
| PARKIT22 | IDWH Assembly Excellence | 1644
| PARKIT23 | Kit: Stepper Valve (PA EXC) | 149
| PARKIT24 | Kit: Circulator | 455
| PARKIT30 | Kit: Venturi Valve (PA155) | 114
| PARKIT31 | Kit: Gas Pipe EXC. | 139
| PARKIT32 | Kit: Elbow Silencer 155-250 Inl | 78
| PARKIT33 | Kit: Elbow Silencer 299-399 Inl | 78
| PARKIT34 | Kit: Elbow Silencer 80/110/Exc | 68
| PARKIT35 | Kit: Boiler Piping HX Return EXC | 132
| PARKIT36 | Kit: Boiler Piping Return EXC. | 140
| PARKIT37 | Kit: Boiler Piping HX Supply EXC | 189
| PARKIT38 | Kit: Boiler Piping Supply EXC. | 139
| PARKIT39 | Kit: Boiler Piping IDW Supply EXC | 148
| PARKIT40 | Kit: Venturi Valve (PA175) | 88
| PARKIT41 | Gasket Burner Head 155/175 | 50
| PARKIT42 | Kit: Combustion Insulation PA155 | 105
| PARKIT43 | Kit: Condensate Pan 155 | 116
| PARKIT45 | Kit: Burner Plate PA155 | 242
| PARKIT46 | Kit: Boiler Piping Return 155-250 | 114
| PARKIT47 | Kit: Boiler Piping Supply 155-250 | 179
| PARKIT49 | Kit: Gasket Burner Head 299/399 | 60
| PARKIT50 | Kit: Venturi Valve (PA250) | 116
| PARKIT51 | Kit: Blower PA155-175 | 349
| PARKIT52 | Kit: Combustion Insulation PA175/250 | 118
| PARKIT53 | Kit: Condensate Pan 175/250 | 197
| PARKIT54 | Kit: Burner Head PA155-250 | 354
| PARKIT55 | Kit: Burner Plate PA175/250 | 272
| PARKIT62 | Kit: Conversion (Natural to LP) PA80 | 62
| PARKIT63 | Kit: Conversion (Natural to LP) PA110 | 61
| PARKIT64 | Kit: Conversion (Natural to LP) PA155 | 56
| PARKIT65 | Kit: Conversion (Natural to LP) PA175 | 54
| PARKIT66 | Kit: Conversion (Natural to LP) PA250 | 54
| PARKIT67 | Kit: Conversion (Natural to LP) PA299 / 399 | 61
| PARKIT68 | Kit: Connector Set ACV Max CON | 85
| PARKIT70 | Kit: Blower PA250 | 357
| PARKIT71 | Kit: Blower PA299 / 399 | 697
| PARKIT72 | Kit: Combustion Insulation PA299/399 | 148
| PARKIT73 | Kit: Condensate Pan 299/399 | 251
| PARKIT74 | KIT:BURNER HEAD PA299/399 | 504
| PARKIT75 | Kit: Burner Plate PA299/399 | 342
| PARKIT77 | GASKET HX CONN 155/175/250 | 46
| PARKIT78 | Kit: Sensor Supply / Return (PA299/399) | 86
| PARKIT79 | Kit: Gas Valve (PA299/399) | 348
| PARKIT88 | Kit: Control Box Hinge Set | 53
| PARKIT90 | Kit: Heat Exchanger PA80/110/EXC | 1413
| PARKIT91 | Kit: Heat Exchanger PA155 | 1962
| PARKIT92 | Kit: Heat Exchanger PS/PT/PA175 | 2076
| PARKIT93 | Kit: Heat Exchanger PS/PT/PA250 | 2470
| PARKIT94 | Kit: Heat Exchanger PA299 | 3404
| PARKIT95 | KIT:HEAT EXCHANGER PS/PT/PA399 | 3893
| PARKIT101 | Universal Display Module | 183
| PARKIT102 | Universal Control Module | 284
| PARKIT111 | Control Module PA 80 PB Serial Number and Display Version Below 4.03 (Low Altitude <5k') | 260
| PARKIT112 | Control Module PA 110/EXCELLENCE PB Serial Number and Display Version Below 4.03 (Low Altitude <5k') | 260
| PARKIT113 | Control Module PA 155 PB Serial Number and Display Version Below 4.03 (Low Altitude <5k') | 260
| PARKIT114 | Control Module PA 175 PB Serial Number and Display Version Below 4.03 (Low Altitude <5k') | 260
| PARKIT115 | Control Module PA 250 PB Serial Number and Display Version Below 4.03 (Low Altitude <5k') | 260
| PARKIT116 | Control Module PA 299 (V2) Updated Gas Train PB Serial Number and Display Version Below 4.03 (Low Altitude <5k') | 260
| PARKIT117 | Control Module PA 399 (V2) Updated Gas Train PB Serial Number AND Display Version Below 4.03 (Low Altitude <5k') | 260
| PARKIT118 | Control Module PA 299 (V1) Original Gas Train PB Serial Number and Display Version Below 4.03 (Low Altitude <5k') | 260
| PARKIT119 | Control Module PA 399 (V1) Original Gas Train PB Serial Number and Display Version Below 4.03 (Low Altitude <5k') | 260
| PARKIT121 | Control Module PA 80 PB Serial Number and Display Version Below 4.03 (High Altitude >5k') | 260
| PARKIT122 | Control Module PA 110/EXCELLENCE PB Serial Number and Display Version Below 4.03 (High Altitude >5k') | 260
| PARKIT123 | Control Module PA 155 PB Serial Number and Display Version Below 4.03 (High Altitude >5k') | 260
| PARKIT124 | Control Module PA 175 PB Serial Number and Display Version Below 4.03 (High Altitude >5k') | 260
| PARKIT125 | Control Module PA 250 PB Serial Number and Display Version Below 4.03 (High Altitude >5k') | 260
| PARKIT126 | Control Module PA299 (V2) Updated Gas Train PB Serial Number and Display Version Below 4.03 (High Altitude >5k') | 260
| PARKIT127 | Control Module PA 399 (V2) Updated Gas Train PB Serial Number and Display Version Below 4.03 (High Altitude >5k') | 260
| PARKIT128 | Control Module PA 299 (V1) Original Gas Train High Altitude PB Serial Number and Display Version Below 4.03 (>5k') | 260
| PARKIT129 | Control Module PA 399 (V1) Original Gas TrainPB Serial Number and Display Version Below 4.03 (High Altitude >5k') | 260
| PARKIT130 | Igniter PA80/110/EXCELLENCE | 71
| PARKIT131 | Igniter PA155/175/250 | 85
| PARKIT132 | Igniter PA299/399 | 59
| PARKIT133 | Spark Generator PA80/110/EXC/155/175/250/299 V1&V2 /399 V1&V2 | 66
| PARKIT134 | Ignition Cable PA80/110/EXC/155/175/250/299 V1&V2 /399 V1&V2 | 61
| PARKIT141 | PA Serial Number Only Ignition Update Kit PA 80 | 260
| PARKIT142 | PA Serial Number Only Ignition Update Kit PA110/PEA110 | 260
| PARKIT143 | PA Serial Number Only Ignition Update Kit PA 155 | 260
| PARKIT144 | PA Serial Number Only Ignition Update Kit PA 175 | 260
| PARKIT145 | PA Serial Number Only Ignition Update Kit PA 250 | 260
| PARKIT146 | PA Serial Number Only Ignition Update Kit PA 299 Updated Gas Train | 260
| PARKIT147 | PA Serial Number Only Ignition Update Kit PA 399 Updated Gas Train | 260
| PARKIT148 | PA Serial Number Only Ignition Update Kit PA 299 Original Gas Train | 260
| PARKIT149 | PA Serial Number Only Ignition Update Kit PA 399 Original Gas Train | 260
| PARKIT151 | PA Serial Number Only Ignition Update Kit PA 80 High Altitude | 260
| PARKIT152 | PA Serial Number Only Ignition Update Kit PA110/PEA110 High Altitude | 260
| PARKIT153 | PA Serial Number ONLY Ignition Update Kit PA 155 High Altitude | 260
| PARKIT154 | PA Serial Number Only Ignition Update Kit PA175 High Altitude | 260
| PARKIT155 | PA Serial Number Only Ignition Update Kit PA 250 High Altitude | 260
| PARKIT156 | PA Serial Number Only Ignition Update Kit PA 299 Updated Gas Train High Altitude | 260
| PARKIT157 | PA Serial Number Only Ignition Update Kit PA 399 Updated Gas Train High Altitude | 260
| PARKIT158 | PA Serial Number Only Ignition Update Kit PA 299 Original Gas Train High Altitude | 260
| PARKIT159 | PA Serial Number Only Ignition Update Kit PA 399 Original Gas Train High Altitude | 260
| PARKIT163 | KIT:GAS PIPING RETURN (80/110/E) | 129
| PSRKIT21 | Wall Bracket 110-399 Excellence | 59
| PTRKIT109 | Pressure Gage (80-250) | 72
| PTRKIT111 | Gas Valve (PA155-250) (PT60-250) | 189
| PTRKIT122 | Sensor Supply/Return (60-250) | 70
| PTRKIT123 | Flye Temperature Sensor (60-399/PA80/PA110) | 85
| PTRKIT136 | Kit: Combustion Insultion PS/PT60/110/EXC | 138
| PTRKIT137 | Kit: Burner Plate 110 | 340
| PTRKIT220 | Kit: In/Outlet Adapter (60-250) | 71
| PTRKIT221 | Kit: In/Outlet Adapter (299/399) | 90
| TCRKIT16 | V2 299/399 Blower Assembly | 726
| TCRKIT18 | V2 299/399 Gas Valve | 332
| TCRKIT19 | V2 299/399 Venturi | 193
PRESTIGE WALL CASCADE BOILERS
| CPS500 | CASCADE: 2 - 250 Prestige Boiler -Less Boilers | 10300
| CPS500 | CASCADE: 2 - 250 Prestige Boiler -With Boilers | 23446
| CPS600 | CASCADE: 2 Boiler (299) - Less Boilers | 10640
| CPS600 | CASCADE: 2 Boiler (299) | 26690
| CPS800 | CASCADE: 2 -399 Prestige Boiler -Less Boilers | 10640
| CPS800 | CASCADE: 2 -399 Prestige Boiler -With Boilers | 30972
| CPS1000 | CASCADE: 4 - 250 Prestige Boiler -Less Boilers | 15270
| CPS1000 | CASCADE: 4 - 250 Prestige Boiler -With Boilers | 41562
| CPS1200 | CASCADE: 3 -399 Prestige Boiler -Less Boilers | 11950
| CPS1200 | CASCADE: 3 -399 Prestige Boiler -With Boilers | 42448
| CPS1600 | CASCADE: 4 -399 Prestige Boiler -Less Boilers | 15950
| CPS1600 | CASCADE: 4 -399 Prestige Boiler -With Boilers | 56614
| CPS2000 | CASCADE: 5 -399 Prestige Boiler -Less Boilers | 17260
| CPS2000 | CASCADE: 5 -399 Prestige Boiler -With Boilers | 68090
PRESTIGE WALL CASCADE OPTIONAL EQUIPMENT
| MDRKIT05 | System Temperature Sensor for Cascade (immersion) | 97
| PSCAS17 | CSD1 Kit (manual high reset & low water cut off) | 434
| PSNEU03 | Condensate Neutralizer Kit, A must have for many local codes/ | 158
| PTSENS12 | System Temperature Sensor for Cascade (strap on) | 65
| PTCON22 | ProtoNode BMS, BACnet®, Modbus | 1073
| PTCON23 | ProtoNode BMS LonWorks® | 1134
PRESTIGE WALL COMMON VENTING
| PSVELB03 | 90° Elbow | 97
| PSVELB04 | 45° Elbow | 93
| PSVFLA01 | Flashing Ø° Pitch-Flat Roof | 42
| PSVFLA02 | Flashing Ø° - 25° Pitch | 374
| PSVFLA03 | Flashing 25° - 45° Pitch | 144
| PSVGSK02 | Seal 150mm | 16
| PSVKIT04 | Two Boilers near Boiler Common Vent Kit | 2462
| PSVKIT05 | Three Boiler near Boiler Common Vent Kit | 3501
| PSVPIP03 | 39" Straight Length | 131
| PSVPIP04 | 79" Straight Length | 186
| PSVSUP02 | Fire Stop/Wall Support | 83
| PSVSUP03 | Support Brackets | 54
| PSVTERM01 | 26" Vertical Termination | 699
| PSVTERM02 | Horizontal Terminaiton Common Vent | 789
KEYSTONE BOILERS AND WATER HEATERS
Boilers | KS399T | Keystone Condensing Boiler | 11016
| KS500T | Keystone Condensing Boiler | 15505
| KS600T | Keystone Condensing Boiler | 17216
| KS750T | Keystone Condensing Boiler | 19999
| KS850T | Keystone Condensing Boiler | 22390
| KS1000T | Keystone Condensing Boiler (50% Deposit required before order will be placed) | 40062
| KS1200T | Keystone Condensing Boiler (50% Deposit required before order will be placed) | 48975
Water Heaters | KW199T | Keystone Water Heater (Special Order) | 8594
| KW285T | Keystone Water Heater (Special Order) | 10819
| KW399T | Keystone Water Heater (Special Order) | 13569
| KW500T | Keystone Water Heater (Special Order) | 16042
| KW600T | Keystone Water Heater (Special Order) | 17773
| KW750T | Keystone Water Heater (Special Order) | 20553
| KW850T | Keystone Water Heater (Special Order) | 22966
| KW1000T | Keystone Water Heater (Special Order) | 41157
| KW1200T | Keystone Water Heater (Special Order) | 50071
KEYSTONE OPTIONAL EQUIPMENT
| KSR602 | Water Flow Switch for Field Mount (KW285 only) (special order) | 270
| KSR604 | LWCO for Field Mount (KW285 to KW850 only) (special order) | 578
| KSR605 | High/Low GPS for Field Mount (KW199 to KW285 only) (special order) | 578
| KSR606 | High/Low GPS for Field Mount (KS399 & KW399 to KW600 only) (special order) | 578
| KSR607 | High/Low GPS for Field Mount (KW750 to KW850 only) (special order) | 560
| KSR608 | 0-10 VDC Signal Converter (special order) | 35
| PSTREA01 | Fernox Boiler Commissioning Kit #59480 | 148
| PSVKIT01 | 3" Stainless Steel Sidewall Termination | 198
| PSVKIT02 | 4" Stainless Steel Sidewall Termination | 229
| PSVTERM04 | 3" PVC Sidewall Termination Kit | 64
| PSVTERM05 | 4" PVC Sidewall Termination Kit | 64
| PTCON22 | ProtoNode BMS, BACnet®, Modbus | 1073
| PTCON23 | ProtoNode BMS LonWorks® | 1134
KEYSTONE PARTS
| KSR147 | Fuse Kit (Special Order) | 35
| KSR186 | Adapter (Special Order) 6" SS To PVC | 232
| KSR187 | Switch (Special Order) | 39
| KSR188 | Harness For Control (Special Order) KW500 | 176
| KSR222 | Condensate Trap Assembly KW199 (Special Order) | 189
| KSR223 | Condensate Trap Assembly | 185
| KSR224 | Condensate Trap Assembly 600-850 (Special Order) | 60
| KSR300 | Combustion Air Blower KW199/285 | 1118
| KSR301 | Combustion Air Blower KS/KW 399-500 | 1557
| KSR302 | Combustion Air Blower (Special Order) KS600-850 | 2417
| KSR303 | Gas Valve / Venturi 199 (Special Order) | 314
| KSR304 | Gas Valve / Venturi | 594
| KSR305 | Gas Valve 399 (Special Order) | 732
| KSR306 | Gas Valve KS/KW 500 (Special Order) | 789
| KSR307 | Gas Valve KS/KW 600-850 (Special Order) | 2025
| KSR308 | Gas / Air Venturi | 206
| KSR313 | Gas Valve Flange Kit | 148
| KSR314 | Gas Valve / Venturi Cork Gasket (Special Order) (KS/KW500-850) | 27
| KSR315 | Gas Valve O-Ring KW199-285 | 25
| KSR316 | Venturi O-Ring KW/KS 399-850 | 30
| KSR317 | High Gas Pressure Switch (Special Order) 399 | 232
| KSR318 | High Gas Pressure Switch (Special Order) 199 | 232
| KSR319 | High Gas Pressure Switch (Special Order) 750/850 | 232
| KSR320 | Low Gas Pressure Switch (Special Order) 399 | 232
| KSR322 | Low Gas Pressure Switch (Special Order) 750/850 | 210
| KSR325 | Transition assembly for Venturi KS/KW 500 | 288
| KSR336 | Air Inlet Flex 3" Hose (Special Order) Plastic 24"L (500) | 37
| KSR341 | MOLEX CONN w Cable (Special Order) | 79
| KSR343 | Blower Gasket w/fasteners KS600-850 | 18
| KSR401 | Heat Exchanger KW285 (Special Order) | 5354
| KSR402 | Heat Exchanger 399 (Special Order) | 7183
| KSR403 | Heat Exchanger KW500 (Special Order) | 8816
| KSR404 | Heat Exchanger 600 (Special Order) | 8946
| KSR405 | Heat Exchanger 750 (Special Order) | 10578
| KSR406 | Heat Exchanger 850 (Special Order) | 11884
| KSR407 | Low Water Cutoff Switch KW/KS5 | 554
| KSR408 | Water temp sensor | 70
| KSR409 | Duplex water temp sensor | 74
| KSR410 | Duplex Stack temp sensor KW199 | 78
| KSR411 | Duplex Water Temp Sensor 285-750 | 93
| KSR412 | Pressure Relief KS 75 PSI (Special Order) | 51
| KSR413 | Pressure Relief KS 125 PSI (Special Order) | 118
| KSR414 | Air Vent | 20
| KSR415 | Burner Door w/ Gaskets (Special Order) (Up To KS/KW600) Used For Old KSR442 | 196
| KSR416 | Gaskets-Only (Burner Door) | 32
| KSR417 | Burner Gasket | 20
| KSR418 | Gasket Set (Buner, Ignitor, Sensor & Door Gaskets) | 61
| KSR419 | Front Refractory Tile 199-600 | 98
| KSR420 | Rear Refractory Tile | 78
| KSR422 | Main Burner w/ Gasket | 1109
| KSR423 | Main Burner w/ Gasket 399-500 (Special Order) | 1109
| KSR424 | Main Burner w/ Gasket 600 (Special Order) | 1185
| KSR425 | Burner W/Gasket 750 (Special Order) | 1329
| KSR426 | Burner w/Gasket 850 (Special Order) | 1477
| KSR427 | Flame Sensor w/ Gakset 199-600 (Special Order) | 75
| KSR428 | Flame Sensor w/ Gakset KS750/850 (Special Order) | 109
| KSR429 | Ignitor w/ Gasket 199-600 | 84
| KSR430 | Ignitor w/ Gasket KS750/850 | 103
| KSR431 | Ignitor Gasket | 19
| KSR432 | Ignition Cable 190-600 | 30
| KSR433 | Ignition Cable KS750/850 | 30
| KSR434 | Screw, Ignitor / Flame Sensor | 14
| KSR435 | Flame / Sensor Gakset | 18
| KSR436 | Air / Gas Channel 199-399 | 254
| KSR439 | Screw, Air / Gas Channel | 35
| KSR444 | Gasket Set (Special Order) KS/KW 750/850 | 85
| KSR445 | Tile (Special Order) Refactory Insulation, Burner Door KS/KW 750/850 | 32
| KSR501 | Transformer | 107
| KSR502 | High Voltage Shield (Special Order) | 48
| KSR505 | Rocker Switch (Special Order) | 107
| KSR506 | Control Display (Special Order) ( for non E Models) | 145
| KSR507 | Control Display CSD-1 ( for non E Models) | 267
| KSR508 | Wire Harness | 378
| KSR510 | Harness KS/KW500 (Special Order) | 394
| KSR512 | Wire Harness KS750/850 (Special Order) | 378
| KSR513 | Harness KS500, CSD1 (Special Order) | 394
| KSR514 | Wire Harness KS600 CSD-1 (Special Order) | 378
| KSR515 | Harness KS750/850 (Special Order) | 378
| KSR517 | Air Pressure Switch (Special Order) KW/KS285,500,600,850 | 35
| KSR518 | Air Pressure Switch (Special Order) KW/KS750 | 83
| KSR519 | Water Flow Switch (Special Order) KW/KS399-->850 | 330
| KSR520 | T & P Gauge | 83
| KSR523 | Gas Conversion Kit | 29
| KSR526 | Outdoor Sensor (Special Order) | 79
| KSR527 | System Sensor (Special Order) | 72
| KSR528 | DHW Sensor | 155
| KSR530 | Electronic Control Module, Standard KW199E | 625
| KSR531 | Electronic Control Module, Standard KW285E (Special Order) | 625
| KSR532 | Electronic Control Module, Standard (Special Order) | 625
| KSR533 | Electronic Control Module, Standard (Special Order) | 625
| KSR534 | Electronic Control Module, Standard KW600/750 New E Series | 625
| KSR535 | Electronic Control Module, Standard KW850T (Special Order) | 625
| KSR536 | Electronic Control Module, CSD-1 KS500E | 625
| KSR537 | Electronic Control Module, CSD-1 KS600/750E | 625
| KSR538 | Electronic Control Module, CSD-1 KS850E | 625
| KSR540 | Flame sensor wire 199-600 (Special Order) | 23
| KSR541 | Flame sensor wire 750-850 (Special Order) | 23
| KSR609 | Switch High / Low Gas (Special Order) KW399-500,KS399 | 555
| KSR610 | Thermo Fuse (Special Order) | 61
| KSR703 | Control Upgrade 4A (Special Order) KW399 | 909
| KSR704 | Control Upgrade 4A (Special Order) KW600/750 | 909
| KSR705 | Control Upgrade 4A (Special Order) KW850 | 909
| KSR706 | Control Conversion 4A (Special Order) KS500 | 951
| KSR707 | Control Conversion 4A (Special Order) KS600/750 | 980
| KSR708 | Control Conversion 4A (Special Order) KS850 | 951
| KSR709 | Control Upgrade (Special Order) 4A KW199 | 851
| KSR715 | Control & Display Kit (Special Order) For All KW500/KW500E replaces old style display, must order this kit instead. Has control and display. | 909
| KSR722 | New Style Bezel "E" (Special Order) | 74
| KSR723 | Display E Units .....(Special Order) | 228
| KSR724 | CPVC Tail Piece 24" (Special Order) | 360
| KSR725 | Display Touchscreen All Models | 1423
SMART 316 INDIRECT HOT WATER HEATERS
| P3SMART30 | Indirect Fired Water Heater | 1236
| P3SMART40 | Indirect Fired Water Heater | 1377
| P3SMART50 | Indirect Fired Water Heater | 1614
| P3SMART60 | Indirect Fired Water Heater | 1839
| P3SMART80 | Indirect Fired Water Heater | 2503
| P3SMART100 | Indirect Fired Water Heater | 2897
| P3SMART120 | Indirect Fired Water Heater | 3682
SMART 316 OPTIONAL EQUIPMENT
SMART 316 PARTS
| P3CVR04 | Cover Plate | 20
| P3DW01 | DRYWELL SMART 40 | 98
| P3DW02 | DRYWELL Smart 50,TR30,TR45,HL45 | 98
| P3DW03 | DRYWELL Smart 60, Smart 80,TR60,HL60 | 114
| P3DW04 | DRYWELL Smart100,Smart120,TR36,TR80,TR100,TR120 | 114
| P3DW05 | DRYWELL Smart20,Smart30,HL20,HL30 | 97
| P3KITAV01 | Air Vent (Automatic) | 32
| P3KITAV02 | Kit: Air Vent (Manual) | 19
| P3KITBTM02 | Kit: Smart Bottom | 67
| P3KITBTM03 | Kit: SM80/100 | 92
| P3KITBTM04 | Kit: SM120, Bottom Cap | 124
| P3KITDT02 | Kit: Dip Tube SMART20 | 43
| P3KITDT08 | Kit: Dip Tube TR-80 / SMART80 | 74
| P3KITDT09 | 1 1/2" Recirculating Dip Tube TR-120/SMART100/TR-100 | 84
| P3KITTH01 | Kit: Thermostat (Residential) | 59
| P3KITTH03 | Kit: Thermostat (Commercial) | 60
| P3KITTOP03 | Kit: Top SMART 80/100 | 116
| P3KITTOP04 | Kit: Top SMART 120 | 167
| P3KITTOP06 | Kit: New Top SMART 30/40/50/60 | 130
| P3KITWRS01 | Wire Harness & Snap Set | 45
| P3KNB02 | Knob: Smart Line | 20
| P3WKITDT01 | Dip Tube SMART 30 | 43
| P3WKITDT02 | Dip Tube SMART 40 | 43
| P3WKITDT03 | Dip Tube SMART 50 | 43
| P3WKITDT04 | 3/4" Recirculating Dip Tube, SM60, HL60 | 49
MAXI FLO AND BRAZED PLATE HEAT EXCHANGERS
Maxi Flo | FHEMF0080 | Maxi-Flo Heat Exchanger | 453
| FHEMF0135 | Maxi-Flo Heat Exchanger | 710
| FHEMF0135T | Maxi-Flo Heat Exchanger - Titanium | 1284
| FHEMF0200 | Maxi-Flo Heat Exchanger | 900
| FHEMF0260 | Maxi-Flo Heat Exchanger | 1086
| FHEMF0260T | Maxi-Flo Heat Exchanger - Titanium | 1674
| FHEMF0400 | Maxi-Flo Heat Exchanger | 1535
Brazed Plate | FHETTP1-14E | Brazed Plate Heat Exchanger | 396
| FHETTP1-20E | Brazed Plate Heat Exchanger | 442
| FHETTP1-30E | Brazed Plate Heat Exchanger | 507
| FHETTP3-14 | Brazed Plate Heat Exchanger | 526
| FHETTP3-20 | Brazed Plate Heat Exchanger | 622
| FHETTP3-40 | Brazed Plate Heat Exchanger | 924
| FHETTP4-10 | Brazed Plate Heat Exchanger | 647
| FHETTP4-14 | Brazed Plate Heat Exchanger | 758
| FHETTP4-24 | Brazed Plate Heat Exchanger | 981
| FHETTP4-30 | Brazed Plate Heat Exchanger | 1095
| FHETTP4-50 | Brazed Plate Heat Exchanger | 1533
| FHETTP4-70 | Brazed Plate Heat Exchanger | 1943
| FHETTP7L-20 | Brazed Plate Heat Exchanger | 2518
| FHETTP7L-24 | Brazed Plate Heat Exchanger | 2777
| FHETTP7L-30 | Brazed Plate Heat Exchanger | 3164
| FHETTP7L-40 | Brazed Plate Heat Exchanger | 3878
| FHETTP7L-50 | Brazed Plate Heat Exchanger | 4593
| FHETTP7L-60 | Brazed Plate Heat Exchanger | 5320
MAXI FLO AND BRAZED PLATE HEAT EXCHANGER OPTIONAL EQUIPMENT
| MFSSKIT01 | 1 1/2" stainless steel supply & return | 102
| MFSSKIT03 | 2" stainless steel supply & return | 126
MAXI FLO AND BRAZED PLATE PARTS
MISC
PRESTIGE PT (2012-2016) OPTIONAL EQUIPMENT
| PSRKIT22 | Kit: Domestic Water Sensor | 64
| PTCAB01 | Cascade Connection (Multiple Boiler) cable | 32
| PTCON22 | ProtoNode BMS, BACnet®, Modbus | 1073
| PTCON23 | ProtoNode BMS LonWorks® | 1134
| PTRKIT133 | PT Excellence TimeSaver Primary/Secondary Manifold without Pump | 329
| PTRKIT200 | Repair Parts Kit 60-250 MBH | 2028
| PTRKIT201 | Repair Parts Kit PT399 MBH | 3169
| PTRLV03 | 80 psi ASME Relief Valve (HP model Only) | 40
| PTSENS12 | System Temperature Sensor for Cascade (strap on) | 65
PRESTIGE PT PARTS
| HMGSK01 | Gasket: Venturi Cork | 16
| HMGSK12 | Gasket: Gas Valve | 16
| HMGSK16 | Gasket Heat Exchanger 175/250 | 78
| HMNIP24 | Nipple, Brass 3/4" | 14
| HMTEE09 | Tee, 3/4" x 1/2" x 3/4" | 18
| PARKIT92 | Kit: Heat Exchanger PS/PT/PA175 | 2076
| PARKIT93 | Kit: Heat Exchanger PS/PT/PA250 | 2470
| PARKIT95 | KIT:HEAT EXCHANGER PS/PT/PA399 | 3893
| PEJKT02T | Top Jacket Panel - Blower Access | 59
| PEJKT03T | Top Jacket Panel - IDWH Access | 59
| PEVLV01 | Valve Body | 142
| PEVLV02 | Three Way Valve Cartridge | 40
| PGRKIT20 | LWCO Device | 79
| PSCIR02 | Grundfos UP15-58 Circulator | 161
| PSCONN10 | Blower Harness Low Voltage | 82
| PSCONN11 | Blower Harness High Voltage | 82
| PSELB03 | Elbow: PVC Venturi | 89
| PSELB04 | Elbow: PVC 60 | 78
| PSFTG02 | Fitting: Compression Ring | 16
| PSGSK11 | Gakset: Venturi Oring 399 | 27
| PSGSK18 | Gasket: Gas Valve Venturi 399 | 18
| PSGSK19 | Gasket: Air Inlet Elbow 399 | 15
| PSGSK21 | Gasket: Gas Orifice 399 | 17
| PSRKIT05 | Condensation Drain Assembly 110-250 | 79
| PSRKIT06 | Boiler Piping - Return Assembly (60/110) | 191
| PSRKIT07 | Boiler Piping - Supply Short Assembly (110 only) | 191
| PSRKIT08 | Boiler Piping - Supply Long Assembly (110 only) | 277
| PSRKIT10 | Burner Head with Gasket (Natural Gas) (Solo 60/110) | 257
| PSRKIT11 | Burner Head with Gasket (Propane) (Solo 60/110) | 247
| PSRKIT13 | Blower Kit with Gasket (SOLO 175/250) | 356
| PSRKIT16 | Kit: Sight Glass Assembly 110-250 | 87
| PSRKIT21 | Wall Bracket 110-399 Excellence | 59
| PSRKIT28 | Boiler Piping - Return Assembly (175/250) | 131
| PSRKIT29 | Boiler Piping - Supply Assembly (175/250) | 161
| PSRKIT31 | Burner head with Gasket 175/250 | 397
| PSRKIT36 | Kit: Time Delay Relay Box EO-4 | 160
| PSRKIT38 | Burner Head with Gasket 399 | 645
| PSRKIT40 | Blower with Gasket 399 | 1026
| PSRKIT47 | Kit: NTC Sensor 399 | 88
| PSRKIT48 | Boiler Piping - Return Assembly 399/299 | 232
| PSRKIT49 | Boiler Piping - Supply Assembly 399/299 | 324
| PSRKIT52 | Boiler Piping -Supply Assembly (60 only) | 230
| PSRKIT54 | Boiler Piping - Supply Short Assembly EXC | 100
| PSRKIT56 | Excellence Water Heater Tank | 1302
| PSRKIT57 | Valve Actuator 3 Way Valve EXC | 125
| PSRKIT59 | Boiler Piping - Return Assembly EXC | 159
| PSRKIT60 | Boiler Piping - Supply Outlet Assembly EXC | 108
| PSRKIT61 | Boiler Piping - Supply Long Assembly EXC | 129
| PSRKIT63 | NTC3 DHW Sensor Excellence | 60
| PSRKIT64 | Kit: Prestige Component Parts | 167
| PSRKIT65 | Kit: Gas Conversion Natural to LP | 274
| PSRKIT67 | Vent/Combustion Air Adapter PT60-250 & Excellence Gasket | 38
| PSRKIT68 | Vent/Combustion Air Adapter PT399 Gasket | 38
| PSRKIT69 | Heat Exchanger/FlueTube: PT60, PT 110 & Excellence Gasket | 38
| PSRKIT70 | Heat Exchanger/FlueTube: PT175 & PT 250 Gasket | 38
| PSRKIT71 | Heat Exchanger/FlueTube: PT399 Gasket | 40
| PSRKIT77 | Flue Sensor Mounting Plug for 399 | 28
| PSRKIT80 | Venturi (Solo 60) | 116
| PSRKIT81 | Venturi Valve Exc (Solo 110) | 117
| PSRKIT82 | Venturi Valve (Solo 175) | 117
| PSRKIT83 | Venturi Valve (Solo 250) | 117
| PSRKIT84 | Venturi 399 | 215
| PSRKIT90 | Kit: 60/110 Service Kit | 356
| PSRKIT91 | Kit: 175/250 Service Kit | 395
| PSVLV13 | Mixing Valve | 92
| PSWIR01 | Wire Mesh Disc 3 1/2" | 17
| PTCON19 | Control Enclosure Cover | 63
| PTFUSE01 | Fuse, 2.5A | 8
| PTFUSE02 | Fuse, 5A | 8
| PTFUSE03 | Fuse, 8B | 7
| PTGRO01 | Ignitor Cable Grommet | 12
| PTJKT08F | Front Jacket Panel | 126
| PTJKT09F | Front Jacket Panel | 130
| PTJKT10R | Rear Jacket Panel | 154
| PTJKT11R | Rear Jacket Panel | 211
| PTJKT12R | Rear Jacket Panel | 191
| PTJKT13R | Rear Jacket Panel | 210
| PTJKT14T | Top Jacket Panel | 63
| PTJKT15T | Top Jacket Panel | 90
| PTJKT16T | Top Jacket Panel | 90
| PTJKT17T | Top Jacket Panel | 48
| PTJKT18T | Top Jacket Access Panel | 62
| PTJKT20T | Top Jacket Access Panel | 62
| PTJKT22S | Side Jacket Panel (Left or Right) | 126
| PTJKT23S | Side Jacket Panel (Left or Right) | 146
| PTJKTSUP01 | Support - Jacket | 25
| PTJKTSUP03 | Support - Boiler Return Piping | 40
| PTRKIT109 | Pressure Gage (80-250) | 72
| PTRKIT110 | Pressure Gauge and Fitting - 399 | 72
| PTRKIT111 | Gas Valve (PA155-250) (PT60-250) | 189
| PTRKIT112 | Gas Valve 399 | 332
| PTRKIT114 | Kit: Blower w/Gasket 60/110/EXC | 307
| PTRKIT115 | Vent Pipe (polypropylene) 60-110 | 153
| PTRKIT116 | Vent Pipe (polypropylene) 175-250 | 191
| PTRKIT117 | Vent Outlet Adapter 399 | 380
| PTRKIT118 | Vent Pipe (polypropylene) EXC | 177
| PTRKIT119 | Kit: Condensate Trap 60/80/110/Excellence | 180
| PTRKIT120 | Kit: Condensate Trap 175/250 | 197
| PTRKIT121 | Kit: Condensate Trap 399 | 251
| PTRKIT122 | Sensor Supply/Return (60-250) | 70
| PTRKIT123 | Flye Temperature Sensor (60-399/PA80/PA110) | 85
| PTRKIT126 | PT 60/110 TimeSaver Primary/Secondary Manifold without Pump | 302
| PTRKIT134 | Kit: Heat Exchanger PT/EXC110 | 1467
| PTRKIT135 | Kit:Heat Exchanger 399HP High Pressure | 4383
| PTRKIT136 | Kit: Combustion Insultion PS/PT60/110/EXC | 138
| PTRKIT137 | Kit: Burner Plate 110 | 340
| PTRKIT138 | Kit: 110 Conversion (Natural to LP) | 352
| PTRKIT139 | Kit: Burner Plate 175/250 | 400
| PTRKIT140 | Kit: Combustion Insulation PS/PT175/250 | 164
| PTRKIT141 | Kit: Burner Plate 399 | 512
| PTRKIT142 | Kit: Combustion Insulation PS/PT 299/399 | 186
| PTRKIT207 | TriMax Display Module | 296
| PTRKIT220 | Kit: In/Outlet Adapter (60-250) | 71
| PTRKIT221 | Kit: In/Outlet Adapter (299/399) | 90
| PTRKIT301 | Kit: Ignition System Update Kit (PT60/110) | 260
| PTRKIT302 | Kit: Ignition System Update Kit (PT175) | 260
| PTRKIT303 | Kit: Ignition System Update Kit (PT399) | 260
| PTRKIT304 | Kit: Ignition System Update Kit (PT EXC) | 260
| PTRKIT305 | Kit: Ignition System Update Kit (PT250) | 260
| PTSWI01 | Switch: Power | 40
| PTSWI02 | Switch: Power Cover | 36
| PTWIR09 | Wire Harness (PT60 & PT110) | 293
| PTWIR10 | Wire Harness (PT399) | 293
| PTWIR11 | Wire Harness (PT175 & PT250) | 171
| PTWIR12 | Wire Harness (Excellence) | 171
| PTWSH01 | Washer: Condensate Trap | 16
PRESTIGE PS (2012) OPTIONAL EQUIPMENT
| PSNEU01 | Condensate Neutralizer Kit | 105
| PSNEU02 | Neutralizer Refill Kit | 19
| PSNEU03 | Condensate Neutralizer Kit | 158
| PSRKIT22 | Kit: Domestic Water Sensor | 64
| PSSTND02 | Wall Kit Prestige 399 (recommended for anything other than a block or brick wall) | 529
| PSSTND03 | Floor Leg Stand Assembly 399 (ordered in addition to wall kit) | 712
| PSTREA01 | Fernox Boiler Commissioning Kit | 148
| PSVCLP02 | Vent Clamp | 27
| PSVELB01 | Vent Elbow 4" 90** | 84
| PSVELB02 | Vent Elbow 4" 45** | 90
| PSVGSK01 | Vent Seal VITON** | 22
| PSVKIT01 | 3" Stainless Steel Sidewall Termination | 198
| PSVKIT02 | 4" Stainless Steel Sidewall Termination | 229
| PSVKIT03 | 4" Concentric Vent Kit Complete Wall Terminal 399 (26" Total Horizontal Length) | 448
| PSVPIP01 | 12" - 17" Adjustable Concentric Straight Length | 123
| PSVPIP02 | 40" Concentric Straight Length | 110
| PSVSUP01 | Firestop Support Plate | 60
| PSVSUP03 | Support Bracket | 54
| PSVTERM03 | 2" PVC Sidewall Vent Termination Kit (Solo 60 & 110 only) | 64
| PSVTERM04 | 3" PVC Sidewall Termination Kit | 64
| PSVTERM05 | 4" PVC Sidewall Termination Kit | 64
PRESTIGE PS PARTS
| HMGSK01 | Gasket: Venturi Cork | 16
| HMGSK16 | Gasket Heat Exchanger 175/250 | 78
| HMNIP24 | Nipple, Brass 3/4" | 14
| HMRLV01 | Pressure Relief Valve 30 psi | 40
| HMTEE09 | Tee, 3/4" x 1/2" x 3/4" | 18
| PARKIT92 | Kit: Heat Exchanger PS/PT/PA175 | 2076
| PARKIT93 | Kit: Heat Exchanger PS/PT/PA250 | 2470
| PARKIT95 | KIT:HEAT EXCHANGER PS/PT/PA399 | 3893
| PEJKT01B | Base Panel | 198
| PEJKT01T | Top Jacket Panel | 129
| PEJKT02T | Top Jacket Panel - Blower Access | 59
| PEJKT03T | Top Jacket Panel - IDWH Access | 59
| PEVLV01 | Valve Body | 142
| PEVLV02 | Three Way Valve Cartridge | 40
| PGRKIT01 | Gas Valve Kit | 211
| PGRKIT15 | Gas Valve Rectifier Plug | 78
| PGRKIT20 | LWCO Device | 79
| PSCIR02 | Grundfos UP15-58 Circulator | 161
| PSCONN04 | Connector: 9 PIN Male | 29
| PSCONN05 | Connector: 13 PIN Male | 39
| PSCONN06 | Connector: 9 PIN Female | 34
| PSCONN07 | Connector: 13 PIN Female | 48
| PSCONN10 | Blower Harness Low Voltage | 82
| PSCONN11 | Blower Harness High Voltage | 82
| PSCS01 | Control Panel | 84
| PSELB01 | Elbow: PVC to Venturi (Solo 110-250) | 46
| PSELB02 | Elbow: Brass 90 3/4 | 21
| PSELB03 | Elbow: PVC Venturi | 89
| PSELB04 | Elbow: PVC 60 | 78
| PSFTG02 | Fitting: Compression Ring | 16
| PSFUSE01 | Fuse 4 AMP (the same for all Solos) | 13
| PSFUSE02 | Fuse 5 AMP (the same for all Solos) | 13
| PSGSK03 | Gasket: Ignitor | 16
| PSGSK04 | Gasket: NTC Sensor | 14
| PSGSK09 | Supply Gasket or return Gasket (Solo 175, 250) | 16
| PSGSK11 | Gakset: Venturi Oring 399 | 27
| PSGSK12 | Gasket: Sup/Ret Piping | 16
| PSGSK18 | Gasket: Gas Valve Venturi 399 | 18
| PSGSK19 | Gasket: Air Inlet Elbow 399 | 15
| PSGSK20 | Gasket: Burner Head 399 | 32
| PSGSK21 | Gasket: Gas Orifice 399 | 17
| PSGSK25 | Gasket: Boiler Pipe/HX | 126
| PSJKT01B | Base Panel (60/110) | 249
| PSJKT01F | Jacket Front | 303
| PSJKT01R | Rear Front Jacket Panel | 117
| PSJKT01T | Top Front Jacket Panel - (60/110) | 117
| PSJKT02F | Front Jacket Panel | 134
| PSJKT02S | Jacket, Side Panel (Right or Left) | 127
| PSJKT02T | Top Jacket Access Panel - (60/110) | 68
| PSJKT03B | Base Panel (175/250) | 68
| PSJKT03R | Rear Front Jacket Panel | 146
| PSJKT03S | Side Jacket Panel (Left & Right) | 146
| PSJKT03T | Top Front Jacket Panel (175/250) | 68
| PSJKT04T | Top Jacket Access Panel (175/250) | 64
| PSJKT05T | Top Front Jacket Panel | 130
| PSJKT06T | Top Jacket Panel - Access | 130
| PSRKIT02 | Vent Outlet Adapter (60/110) | 236
| PSRKIT03 | Combustion Air Inlet Adapter 110-250 | 130
| PSRKIT05 | Condensation Drain Assembly 110-250 | 79
| PSRKIT06 | Boiler Piping - Return Assembly (60/110) | 191
| PSRKIT07 | Boiler Piping - Supply Short Assembly (110 only) | 191
| PSRKIT08 | Boiler Piping - Supply Long Assembly (110 only) | 277
| PSRKIT10 | Burner Head with Gasket (Natural Gas) (Solo 60/110) | 257
| PSRKIT11 | Burner Head with Gasket (Propane) (Solo 60/110) | 247
| PSRKIT12 | Burner Plate Gasket | 228
| PSRKIT13 | Blower Kit with Gasket (SOLO 175/250) | 356
| PSRKIT14 | Kit: Ignition Cable 110-250 | 62
| PSRKIT15 | Kit: Igniter w/Gasket 110-250 | 68
| PSRKIT16 | Kit: Sight Glass Assembly 110-250 | 87
| PSRKIT17 | Pressure Gauge | 68
| PSRKIT19 | Transformer with Surge Protection | 102
| PSRKIT20 | Prestige Control Module Display (with Ribbon Cable) | 147
| PSRKIT21 | Wall Bracket 110-399 Excellence | 59
| PSRKIT22 | KIT:DOMESTIC WATER SENSOR | 64
| PSRKIT23 | AM4 Multiple Boiler Interface Kit | 224
| PSRKIT24 | LP to Natural Gas Conversion Kit 60-250 also 110 LP to natural | 29
| PSRKIT27 | Vent Outlet Adapter (175/250) | 362
| PSRKIT28 | Boiler Piping - Return Assembly (175/250) ACV#507F4121 | 131
| PSRKIT29 | Boiler Piping - Supply Assembly (175/250) ACV#507F4120 | 161
| PSRKIT31 | Burner head with Gasket 175/250 | 397
| PSRKIT33 | Natural Gas to LP Conversion Kit (60/175/250) | 38
| PSRKIT36 | Kit: Time Delay Relay Box EO-4 | 160
| PSRKIT38 | Burner Head with Gasket 399 | 645
| PSRKIT39 | Burner Plate 399 (Replace with PTRKIT141) | 0
| PSRKIT40 | Blower with Gasket 399 | 1026
| PSRKIT41 | Gas Valve 399 | 428
| PSRKIT42 | Gas Valve Piping 399 | 210
| PSRKIT43 | Gas Supply Piping 399 | 203
| PSRKIT46 | Combustion Air Inlet Adapter 399 | 210
| PSRKIT47 | Kit: NTC Sensor 399 | 88
| PSRKIT48 | Boiler Piping - Return Assembly 399/299 | 232
| PSRKIT49 | Boiler Piping - Supply Assembly 399/299 | 324
| PSRKIT50 | MCBA Control Module | 530
| PSRKIT51 | Natural Gas to LP Gas Conversion Kit 399 | 53
| PSRKIT52 | Boiler Piping -Supply Assembly (60 only) | 230
| PSRKIT53 | LP to Natrural Gas Conversion Kit 399 | 68
| PSRKIT54 | Boiler Piping - Supply Short Assembly EXC | 100
| PSRKIT56 | Excellence Water Heater Tank | 1302
| PSRKIT57 | Valve Actuator 3 Way Valve EXC | 125
| PSRKIT58 | MCBA Prestige Control Module EXC | 586
| PSRKIT59 | Boiler Piping - Return Assembly EXC | 159
| PSRKIT60 | Boiler Piping - Supply Outlet Assembly EXC | 108
| PSRKIT61 | Boiler Piping - Supply Long Assembly EXC | 129
| PSRKIT62 | Boiler Piping - Relief Valve Assembly EXC | 151
| PSRKIT63 | NTC3 DHW Sensor Excellence | 60
| PSRKIT64 | Kit: Prestige Component Parts | 167
| PSRKIT65 | Kit: Gas Conversion Natural to LP | 274
| PSRKIT67 | Vent/Combustion Air Adapter PT60-250 & Excellence Gasket | 38
| PSRKIT68 | Vent/Combustion Air Adapter PT399 Gasket | 38
| PSRKIT69 | Heat Exchanger/FlueTube: PT60, PT 110 & Excellence Gasket | 38
| PSRKIT70 | Heat Exchanger/FlueTube: PT175 & PT 250 Gasket | 38
| PSRKIT71 | Heat Exchanger/FlueTube: PT399 Gasket | 40
| PSRKIT73 | Vent Outlet Adapter PE110 | 236
| PSRKIT77 | Flue Sensor Mounting Plug for 399 | 28
| PSRKIT80 | Venturi (Solo 60) | 116
| PSRKIT81 | Venturi Valve Exc (Solo 110) | 117
| PSRKIT82 | Venturi Valve (Solo 175) | 117
| PSRKIT83 | Venturi Valve (Solo 250) | 117
| PSRKIT84 | Venturi 399 | 215
| PSRKIT90 | Kit: 60/110 Service Kit | 356
| PSRKIT91 | Kit: 175/250 Service Kit | 395
| PSRKIT92 | Kit:399 Service Kit | 471
| PSRKIT99 | Kit: Heat Exchange PS/EXC110 O/S Natural and LP | 1932
| PSSCR03 | Thumbscrew | 8
| PSSENS01 | Outdoor Sensor Kit | 69
| PSVLV13 | Mixing Valve | 92
| PSSWI01 | Power Switch | 21
| PSWIR01 | Wire Mesh Disc 3 1/2" | 17
| PSWIR02 | Wiring Tool | 14
| PSWIR03 | 4" Screen | 18
| PSWIR05 | Wire Harness (Solo 110-250) | 418
| PSWIR07 | Wire Harness | 442
| PTRKIT109 | Pressure Gage (80-250) | 72
| PTRKIT111 | Gas Valve (PA155-250) (PT60-250) | 189
| PTRKIT114 | Kit: Blower w/Gasket 60/110/EXC | 307
| PTRKIT117 | Vent Outlet Adapter 399 | 380
| PTRKIT141 | Kit: Burner Plate 399 | 512
SMART TR & HL
| P3DW01 | Kit: Drywell, SM40, HL36 | 98
| P3DW02 | Kit: Drywell, SM50,TR30,TR45,HL45 | 98
| P3DW03 | Kit: Drywell, SM60,SM80,TR60,HL60 | 114
| P3DW04 | Kit: Drywell,TR36,TR80,SM100,TR100,TR120 | 114
| P3DW05 | DRYWELL Smart20,Smart30,HL20,HL30 | 97
| P3KITAV01 | Air Vent (Automatic) | 32
| P3KITDT05 | Kit: Dip Tube TR-45/60 | 57
| P3KITDT08 | Kit: Dip Tube TR-80 / Smart80 | 74
| P3KITDT09 | 1 1/2" Recirculating Dip Tube TR-120/SMART100/TR-100 | 84
| P3KITTH01 | Kit: Thermostat (Residential) | 59
| P3KITTH03 | Kit: Thermostat (Commercial) | 60
| P3KITTHR01 | Thermometer | 47
| P3KITWRS01 | Wire Harness & Snap Set | 45
| P3KNB02 | Knob | 20
| P3WKITDT01 | Kit: Dip Tube, SM30,HL30 | 43
| P3WKITDT02 | Kit: Dip Tube,SM40,HL36 | 43
| P3WKITDT03 | Kit: Dip Tube,SM50 | 43
| P3WKITDT04 | 3/4" Recirculating Dip Tube,SM60,HL60 | 49
COMFORT
| P3DW06 | DRYWELL Comfort Tank | 48
| P3KITBTM05 | Kit: Comfort Bottom | 71
| P3KITTH04 | Kit: Thermostat (Comfort) | 48
| P3KITTOP05 | Kit: Top Comfort | 71
CHALLANGER OPTIONAL EQUIPMENT
| CCRKIT202 | Timesaver Pri Sec Man, w Grunfos UPS15-58 FC Pump, 1.25" Brazed Sys Connections | 425
| CCSTRA01 | DHW Strainer (Lead Free) | 83
| PSNEU01 | Condensate Neutralizer Kit (16 per carton) | 105
| PSNEU02 | Neutralizer Refill Kit | 19
CHALLANGER PARTS
Replacement Parts | CCCLB01 | Ignition Cable | 84
| CCCS01 | Housing Plastic Control | 20
| CCFTG01 | Connector Pipe CH | 21
| CCFTG02 | Connector Pipe DHW | 21
| CCGAU01 | Temperature and Pressure Gauge | 59
| CCRKIT04 | Wall Bracket Assembly | 57
| CCRKIT05 | Piping Connectors & Brackets | 154
| CCRKIT06 | Front Door Assembly CC85 | 444
| CCRKIT07 | Front Door Assembly CC105 | 453
| CCRKIT08 | Front Door Assembly CC125 | 457
| CCRKIT10 | Vent Assembly CC85 | 108
| CCRKIT11 | Vent Assembly CC105 | 109
| CCRKIT12 | Vent Assembly CC125 | 110
| CCRKIT13 | Condensate Collector Assembly | 148
| CCRKIT14 | Condensate Drain Trap Assembly (85, 105, 125) | 74
| CCRKIT14A | Kit: Condensate Trap CC150 | 71
| CCRKIT15 | Ignitor Assembly | 76
| CCRKIT16 | Sight Glass Assembly | 68
| CCRKIT17 | CH Sensor Assembly | 87
| CCRKIT18 | DHW Flow Switch Assembly | 132
| CCRKIT19 | LWCO/CH Pressure Sensor Assembly | 110
| CCRKIT20 | CH Supply Pipe Assembly CC85 | 152
| CCRKIT21 | CH Supply Pipe Assembly CC8105 | 158
| CCRKIT22 | CH Supply Pipe Assembly CC125, CC150 | 163
| CCRKIT23 | CH Return Pipe Assembly | 92
| CCRKIT26 | DHW Supply Pipe Assembly | 69
| CCRKIT27 | DHW Return Pipe Assembly | 69
| CCRKIT28 | Ignition Transformer Assembly | 106
| CCRKIT29 | Gas Valve Assembly REPLACED WITH CCRKIT60 | 379
| CCRKIT30 | Gas Pipe Assembly CC85 | 135
| CCRKIT31 | Gas Pipe Assembly CC105, CC125, CC150 | 135
| CCRKIT32 | Blower Assembly | 542
| CCRKIT33 | Burner Assembly | 436
| CCRKIT34 | Control Flip-down Panel | 17
| CCRKIT35 | Vent/Air Adaptor Assembly | 112
| CCRKIT36 | Flue Sensor | 65
| CCRKIT38 | Kit: Indirect Circulator Wiring | 56
| CCRKIT40 | Kit: Busching for Igniter | 48
| CCRKIT41 | Kit: Gasket Condensate Trap | 48
| CCRKIT42 | Kit: Wiring Harness LWCO | 50
| CCRKIT43 | Kit: Connector 9 Pin 24V | 51
| CCRKIT44 | Kit: Connector 8 Pin , 120V | 51
| CCRKIT45 | Kit: Venturi 406 | 112
| CCRKIT46 | Kit: Venturi 362 | 71
| CCRKIT47 | Kit: Orifice Blower Out CC85 | 45
| CCRKIT48 | Kit: Orifice Blower Out CC105 | 45
| CCRKIT49 | Kit: Restricor DHW 2 GPM | 48
| CCRKIT50 | Kit: Restricor DHW 2.5 GPM | 48
| CCRKIT51 | Kit: Restricor DHW 3 GPM | 48
| CCRKIT52 | Kit: Control Display CC50S | 470
| CCRKIT53 | Kit: Control Display CC85/105/125 And Solo | 470
| CCRKIT54 | Kit: Control Display CC125H/HS | 470
| CCRKIT55 | Kit: Control Display CC150S | 470
| CCRKIT56 | Kit: DHW Flow Sensor Assembly | 138
| CCRKIT57 | Kit: DHW Cold Pipe Assembly | 71
| CCRKIT59 | Kit: Igniter Transformer Assembly | 90
| CCRKIT60 | Kit: Gas Valve (Updated) | 376
| CCRKIT61 | Kit: Upper Gas Pipe New 50/85/105 | 85
| CCRKIT62 | Kit: Upper Gas Pipe New 125/150 | 85
| CCRKIT63 | Kit: Venturi 471 (CC125H) | 61
| CCRKIT64 | Kit: Natural to LP Conversion | 65
| CCRKIT66 | Kit: Natural to LP Conversion | 60
| CCRKIT97 | Kit: Challenger Repair Parts | 2004
| CCSENS02 | DHW Sensor | 25
| CCVSUP01 | Support Fire/wall | 48
| PSSENS01 | Outdoor Sensor Kit | 69
| PSVLV13 | Mixing Valve | 92
Component Parts | CCGSK01 | Gasket: Igniter | 7
| CCGSK03 | Gasket: Blower Outlet | 8
| CCGSK04 | Gasket: Venturi Inlet | 7
| CCGSK05 | Gasket: Gas Valve Orifice | 7
| CCGSK06 | Gasket: Gas Valve Inlet | 7
| CCGSK07 | Gasket: Flow Switch | 8
| CCGSK08 | Gasket: Flip Panel | 7
| CCGSK09 | Gasket: 3" Adapter | 9
| CCGSK10 | Gasket: Outlet Vent Assembly | 12
| CCGSK11 | Gasket: Inlet Vent Assembley | 8
| CCGSK12 | Gasket: HX Condensate | 8
| CCGSK13 | Gasket: Burner | 9
| CCGSK14 | Gasket: Burner Screws | 8
| CCGSK15 | Gasket: Pipe Assembly | 7
| CCGSK16 | Gasket:Pipe/HX | 8
| CCGSK18 | Gasket: Condensate Trap | 12
| CCGSK19 | Gasket: Door | 9
| CCGSK20 | Gasket: Electrical | 8
| CCGSK21 | Gasket: HX Front CC85 | 17
| CCGSK22 | Gasket: HX Front CC105 | 17
| CCGSK23 | Gasket: HX Front CC125 | 17
HEAT MASTER PARTS
HM Series | HMDRA01 | Drain Valve | 18
| HMDT02 | Dip Tube HM 40/45 | 32
| HMDT03 | Dip Tube HM 100 | 32
| HMEXP01 | Expansion Tank | 102
| HMGAU01 | Temperature & Pressure Gauge | 44
| HMRLV01 | Pressure Relief Valve 30 psi | 40
| HMTEE09 | Tee, 3/4" x 1/2" x 3/4" | 18
| HMTPV01 | T & P Relief Valve 150 psi | 127
| P3KITAV01 | Air Vent (Automatic) | 32
| PGRKIT20 | Low Water Cut Off Device | 79
| PGRKIT22 | Manual Safety Aquastat Kit | 161
| PGRKIT23 | Automatic Reset Kit | 92
| PSWEL02 | Bulb Well: 1/2" NPT x 6" | 50
| HMDRA01 | Drain Valve | 18
| HMDT01 | Dip Tube | 23
| HMDT02 | Dip Tube HM 40/45 | 32
| HMGAU01 | Temperature & Pressure Gauge | 44
| HMRLV01 | Pressure Relief Vavle 30 psi | 40
| HMSHU01 | Shutter: Air Intake | 25
| HMTEE09 | Tee, 3/4" x 1/2" x 3/4" | 18
| P3DW05 | Drywell (PG and F Models) Smart 20, Smart30,HL20,HL30 | 97
| P3KITAV01 | Air Vent (Automatic) | 32
| PGRKIT18 | Transformer Kit | 74
| PGRKIT19 | Relay Kit | 74
| PGRKIT20 | Low Water Cut Off Kit | 79
| PGRKIT21 | Thermostat Kit | 78
| PGRKIT22 | Manual Reset Kit | 161
| PGRKIT23 | Auto Reset Kit | 92
| PSCIR02 | Grundfos UP 15-58 Circulator | 161
| PSWEL02 | Bulb Well: 1/2" NPT x 6" | 50
Modulating Series | HMGSK01 | Gasket: Venturi Cork | 16
| HMGSK12 | Gasket: Gas Valve | 16
| HMGSK14 | Blower Gasket | 16
| HMTEE09 | Tee, 3/4" x 1/2" x 3/4" | 18
| MDRKIT01 | Domestic NTC Sensor | 76
| MDRKIT02 | Air Switch | 84
| MDRKIT03 | MCBA Control Module | 830
| MDRKIT04 | Control Module Display | 146
| MDRKIT05 | System Temperature Sensor for Cascade (immersion) | 97
| MDRKIT06 | Control Module Display Cover | 51
| MDRKIT08 | Igniter with Gasket | 82
| MDRKIT09 | Burner Plate Insulation & Gasket | 170
| PGRKIT01 | Gas Valve | 211
| PGRKIT15 | Gas Valve Rectifier Plug | 78
| PGRKIT20 | Kit: Low Water Cut Off | 79
| PGRKIT37 | Burner Head | 251
| PSCIR02 | Gundfos UP 15-58 Circulator | 161
| PSRIB02 | Ribbon: MCBA Control Display | 41
| PSRKIT14 | Kit: Ignition Cable 110-250 | 62
| PSRKIT19 | Transformer with Surge Protection | 102
| PSWIR01 | Wire Mesh Disc 3 1/2" | 17
PG (Burner Repair Kits) | HMCAB02 | Ignition Wire | 42
| PGRKIT01 | Gas valve replacement kit | 211
| PGRKIT02 | PG-25 Blower / motor replacement kit | 508
| PGRKIT03 | PG-30 Blower / motor replacement kit | 583
| PGRKIT04 | PG-35 Blower / motor replacement kit | 583
| PGRKIT05 | PG-40 Blower / motor replacement kit | 508
| PGRKIT06 | PG-45 Blower / motor replacement kit | 508
| PGRKIT07 | Natural gas to Propane conversion kit | 146
| PGRKIT08 | Propane to Natural gas conversion kit | 146
| PGRKIT09 | Burner head replacement kit | 251
| PGRKIT10 | Burner head replacement kit | 251
| PGRKIT11 | Pressure switch replacement kit with 1.84" w.c. pressure switch | 63
| PGRKIT12 | Pressure switch replacement kit with 2.7" w.c. pressue switch | 63
| PGRKIT13 | Pressure switch replacement kit with 3.35" w.c. pressure switch | 63
| PGRKIT14 | Ignitor replacement kit | 128
| PGRKIT15 | Rectifier cable replacement kit | 78
| PGRKIT16 | UT Ignition control module replacement kit | 211
| PGRKIT17 | Ignitor replacement kit | 128
| PGRKIT24 | Honeywell to UT Control module R | 334
Components | TCRKIT01 | Kit: Flue Pipe (240-399) | 134
| TCRKIT02 | Kit: Upper Recirc Pipe (240-399) | 120
| TCRKIT03 | Kit: Lower Recirc Pipe (240-399) | 129
| TCRKIT04 | Kit: Circulater (240-399) | 720
| TCRKIT07 | Kit: Combustion Insulation 240 | 146
| TCRKIT08 | Kit: Burner Head 240 | 420
| TCRKIT09 | Kit: Burner Plate 240 | 169
| TCRKIT10 | Kit: Igniter TC240 | 116
| TCRKIT11 | Kit: Gas Valve Pipe 240 | 172
| TCRKIT12 | Kit: Gas Pressure Switch 240/399 | 90
| TCRKIT14 | Kit: Combustion Insulation 399 | 68
| TCRKIT15 | Kit: Burner Head 399 | 426
| TCRKIT16 | Kit: Blower 399 | 726
| TCRKIT17 | Kit: Burner Plate 399 | 179
| TCRKIT18 | Kit: Gas Valve TC399 | 332
| TCRKIT19 | Kit: Venturi Valve TC399 | 193
| TCRKIT20 | Kit: Igniter TC 299/399 | 116
| TCRKIT21 | Kit: Gas Valve Pipe 399 | 152
| TCRKIT22 | Kit: Power Switch | 67
| TCRKIT25 | Kit: 240 Conversion (Natural to LP) | 60
| TCRKIT26 | Kit: 399 Conversion (Natural to LP) | 74
| TCRKIT27 | Kit: Gasket Igniter TC240 | 32
| TCRKIT28 | Kit: Gasket Igniter TC399 | 32
| TCRKIT29 | Kit: Gasket Burner Head TC240 | 60
| TCRKIT30 | Kit: Gasket Burner Head TC399 | 67
| TCRKIT31 | Kit: Gasket Blower TC240-399 | 62
MARQUIS TANKLESS WATER HEATER PARTS
| MQRKIT01 | Spare Parts Kit | 60
| MQRKIT02 | Anchor / Wall Bracket Mount | 60
| MQRKIT03 | Gas Conversion Kit | 78
| MQRKIT04 | LP Conversion Kit | 76
| MQRKIT05 | Exhaust Connector Assembly | 70
| MQRKIT06 | Cabinet | 53
| MQRKIT07 | Door Assembly | 93
| MQRKIT08 | Display Panel Cover | 54
| MQRKIT09 | Ignition Transformer | 74
| MQRKIT10 | Gas Inlet Nipple | 53
| MQRKIT11 | Overheat Sensor | 53
| MQRKIT12 | DHW Supply Pipe Assembly | 69
| MQRKIT13 | Condensate Trap Assembly | 57
| MQRKIT14 | Condensate Air Pressure Hose | 53
| MQRKIT15 | Air Pressure Switch | 62
| MQRKIT16 | Display Bracket | 57
| MQRKIT17 | Display Panel | 113
| MQRKIT18 | Control Board (PCB) | 192
| MQRKIT19 | Control Board Bracket | 59
| MQRKIT20 | Power Switch | 53
| MQRKIT21 | Flow Control Valve | 137
| MQRKIT22 | Water Inlet Valve Assembly | 89
| MQRKIT23 | Water Inlet Filter | 62
| MQRKIT24 | Case Bracket (Left / Right) | 51
| MQRKIT25 | Air Intake Connector Assmebly | 69
| MQRKIT26 | Heat Exchanger Assembly | 1041
| MQRKIT27 | Sensor Exhaust Temperature | 57
| MQRKIT28 | Exhaust Gasket | 56
| MQRKIT29 | Exhaust / HX Packing | 61
| MQRKIT30 | Blower Assembly | 206
| MQRKIT31 | Blower | 119
| MQRKIT32 | Blower "O" Ring | 53
| MQRKIT33 | Silencer Elbow | 54
| MQRKIT34 | Silencer Body | 56
| MQRKIT35 | Burner Head | 69
| MQRKIT36 | Gasket Ignition Rod | 53
| MQRKIT37 | Ignition Rod | 62
| MQRKIT38 | Blower Head Bracket | 53
| MQRKIT39 | Overheat Sensor (Burner) | 53
| MQRKIT40 | Metal Fiber Assmebly | 113
| MQRKIT41 | Flame Detector | 53
| MQRKIT42 | Mixing Valve | 137
| MQRKIT43 | Sensor Heat Exchanger Temperature | 57
| MQRKIT44 | Sensor Overheat Exchanger | 53
| MQRKIT45 | DHW Outlet Pipe | 79
| MQRKIT46 | Water Piping Clip | 53
| MQRKIT47 | DHW Inlet Pipe | 83
| MQRKIT48 | Ceramic Heater | 71
| MQRKIT49 | Pipe: Gas Valve (Upper) | 57
| MQRKIT50 | Pipe: Gas Valve (Lower) | 67
| MQRKIT51 | Gas Valve Adapter (Straight) | 51
| MQRKIT52 | Gas Valve Assembly | 172
| MQRKIT53 | Gas Valve Plug | 53
| MQRKIT54 | Gas Valve Adapter (90 Degree) | 53
| MQRKIT55 | Bracket: Bottom HX (Left) | 57
| MQRKIT56 | Bracket: Bottom HX (Right) | 57
| MQRKIT57 | Bracket: Top HX (Right/Left) | 51
| MQRKIT58 | Screen 3" | 62
| MQRKIT59 | Condensate Hose | 60
| MQRKIT60 | Screen 2" | 62
| MQRKIT61 | Bracket: Case (Lower) | 53
| MQRKIT62 | Sensor: Water Outlet | 64
| MQRKIT63 | Exchanger / Burner Gasket | 78
| MQRKIT64 | Flame Detection Sensor Body | 53
| MQRKIT65 | Internal Condensate Hose | 57
| MQRKIT66 | Gasket Ignition Rod | 53
| MQRKIT67 | Power Cord | 112
| MQRKIT68 | Connector Assmebly | 95
| MQRKIT69 | Harness: Cascade | 37
| MQRKIT70 | Service Parts Kit | 1812